## 2020_asset_inventory
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
NANOOS | urn:ioos:station:nanoos:apl_chaba | 46119 | Ćhába UW/NANOOS Moored Buoy near La Push | APL-UW Ćháʔba·. At La Push, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:APL_Chaba and http://orca.ocean.washington.edu/prod_CS_ChaBa.shtml | 47.9666 | -124.96 | moored_buoy | 07/2010 | Y |  | Yp | UW | academic | UW |  | air_temperature (2.7m), surface_air_pressure (2.7m), surface_partial_pressure_of_carbon_dioxide_in_air (3m), sea_water_temperature (-1m, -1.5m, -60m), sea_water_salinity (-1m, -1.5m), sea_water_pressure (-60m), mass_concentration_of_chlorophyll_in_sea_water (-1m, -1.5m), sea_water_turbidity (-1m, -1.5m), mass_concentration_of_oxygen_in_sea_water (-1m, -1.5m), sea_water_ph_reported_on_total_scale (-1m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-1m) | Deployed in July 2020
NANOOS | urn:ioos:station:nanoos:apl_nemo | N/A | UW/NANOOS NEMO Subsurface profiler with NOAA ESP, near La Push | APL-UW NEMO-ESP Profiler. At La Push, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:APL_Nemo and http://orca.ocean.washington.edu/prod_CS_SubSurface.shtml | 47.9667 | -124.9549 | moored_buoy | 08/2011 | Y |  | Yp | UW | academic | UW |  | sea_water_temperature (-16m), sea_water_salinity (-16m), sea_water_pressure (-16m) | Deployed in July 2020. Platform includes a depth profiler whose data are not yet ingested by NANOOS. NANOOS does not push this data to NDBC yet.
NANOOS | urn:ioos:station:nanoos:apl_npb1ptwells | 46120 | Profiling Buoy at Point Wells - Central Sound | ORCA Point Wells. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:APL_NPB1PtWells and http://orca.ocean.washington.edu/prod_PS_PWells.shtml | 47.7612 | -122.3972 | profiling_buoy | 07/2009 | Y |  | Yp | UW | academic | UW |  | air_temperature (2m), surface_air_pressure (2m), relative_humidity (2m), dew_point_temperature (2m), wind_from_direction (2m), wind_speed (2m), wind_speed_of_gust (2m), sea_water_temperature (PROFILE), sea_water_salinity (PROFILE), sea_water_sigma_t (PROFILE), surface_downwelling_photosynthetic_radiative_flux_in_air (2m), mass_concentration_of_chlorophyll_in_sea_water (PROFILE), mass_concentration_of_oxygen_in_sea_water (PROFILE), fractional_saturation_of_oxygen_in_sea_water (PROFILE)
NANOOS | urn:ioos:station:nanoos:apl_npb2carr | 46121 | Profiling Buoy at Carr Inlet - South Sound | ORCA Carr Inlet. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:APL_NPB2Carr and http://orca.ocean.washington.edu/prod_PS_Carr.shtml | 47.28 | -122.73 | profiling_buoy | > 5 yr | Y |  | Yp | UW | academic | UW |  | air_temperature (2m), surface_air_pressure (2m), relative_humidity (2m), dew_point_temperature (2m), wind_from_direction (2m), wind_speed (2m), wind_speed_of_gust (2m), sea_water_temperature (PROFILE), sea_water_salinity (PROFILE), sea_water_sigma_t (PROFILE), surface_downwelling_photosynthetic_radiative_flux_in_air (2m), mass_concentration_of_chlorophyll_in_sea_water (PROFILE), mass_concentration_of_oxygen_in_sea_water (PROFILE), fractional_saturation_of_oxygen_in_sea_water (PROFILE), sea_water_ph_reported_on_total_scale (-1m)
NANOOS | urn:ioos:station:nanoos:cmop_cbnc3 | N/A | Cathlamet Bay North Channel (USCG day mark green 3) | CMOP_Cbnc3. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Cbnc3 and http://www.stccmop.org/datamart/observation_network/fixedstation?station=cbnc3 | 46.21 | -123.714 | fixed | > 5 yr | Y |  | Yp | CMOP | academic | CMOP |  | sea_water_temperature (-6.5m), sea_water_salinity (-6.5m) | Internal data logging but no telemetry. Data are being archived with NCEI.
NANOOS | urn:ioos:station:nanoos:cmop_elliott | N/A | Elliott Point | CMOP_Elliott. At Columbia Estuary, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Elliott and http://www.stccmop.org/datamart/observation_network/fixedstation?id=eliot | 46.2591 | -123.6149 | moored_buoy | 07/2017 | Y |  | Yp | CMOP | academic | CMOP |  | sea_water_temperature (-0.5m, -13m), sea_water_salinity (-13m) | Deployed in late 2017. NANOOS does not push this data to NDBC yet.
NANOOS | urn:ioos:station:nanoos:cmop_mottb | SEFO3 | SATURN-04 | CMOP Saturn04. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Mottb and http://www.stccmop.org/datamart/observation_network/fixedstation?station=saturn04 | 46.2036 | -123.7586 | fixed | > 5 yr | Y |  | Yp | CMOP | academic | CMOP |  | sea_water_temperature (-0.3m, -8.6m), sea_water_salinity (-0.3m, -8.6m), sea_water_turbidity (-0.3m, -8.6m), cdom (-0.3m, -8.6m), mass_concentration_of_oxygen_in_sea_water (-0.3m, -8.6m), fractional_saturation_of_oxygen_in_sea_water (-0.3m, -8.6m)
NANOOS | urn:ioos:station:nanoos:cmop_ogi02 | 46096 | SATURN-02 | CMOP Saturn02. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Ogi02 and http://www.stccmop.org/datamart/observation_network/fixedstation?station=saturn02 | 46.1735 | -124.1272 | moored_buoy | > 5 yr | O |  | Yp | CMOP | academic | CMOP |  | air_temperature (3m), surface_air_pressure (3m), wind_from_direction (3m), wind_speed (3m), wind_speed_of_gust (3m), sea_water_temperature (-1m), sea_water_salinity (-1m, -6m, -11m, -16m, -21m, -35m), surface_downwelling_photosynthetic_radiative_flux_in_air (3m), mass_concentration_of_chlorophyll_in_sea_water (-1m, -6m, -11m, -16m, -21m, -35m), sea_water_turbidity (-1m, -6m, -11m, -16m, -21m, -35m), mass_concentration_of_oxygen_in_sea_water (-1m, -6m, -11m, -16m, -21m, -35m), fractional_saturation_of_oxygen_in_sea_water (-1m, -6m, -11m, -16m, -21m, -35m) | Deployment is planned for April or May 2021. Deployment during 2020 was not possible due to COVID-19 restrictions.
NANOOS | urn:ioos:station:nanoos:cmop_saturn01 | N/A | SATURN-01 | CMOP_Saturn01. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Saturn01 and http://www.stccmop.org/datamart/observation_network/fixedstation?station=saturn01 | 46.235 | -123.8719 | fixed | > 5 yr | U |  | Yp | CMOP | academic | CMOP |  | sea_water_temperature (0.0m), sea_water_salinity (0.0m), mass_concentration_of_chlorophyll_in_sea_water (0.0m), sea_water_turbidity (0.0m), cdom (0.0m), mole_concentration_of_nitrate_in_sea_water (0.0m) | Redeployment dependent on changes in policy by ODOT, which owns the station location, and on absense of cormorant rookery. NANOOS does not push this data to NDBC yet.
NANOOS | urn:ioos:station:nanoos:cmop_saturn03 | SETO3 | SATURN-03 | CMOP_Saturn03. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Saturn03 and http://www.stccmop.org/datamart/observation_network/fixedstation?station=saturn03 | 46.1997 | -123.94 | fixed | > 5 yr | Y |  | Yp | CMOP | academic | CMOP |  | sea_water_temperature (-2.4m, -8.2m, -13.0m), sea_water_salinity (-2.4m, -8.2m, -13.0m), fluorescence_min (-2.4m, -8.2m, -13.0m), quantum_yield_of_fluourescence (-2.4m, -8.2m, -13.0m), mass_concentration_of_chlorophyll_in_sea_water (-2.4m, -8.2m, -13.0m), sea_water_turbidity (-2.4m, -8.2m, -13.0m), cdom (-2.4m, -8.2m, -13.0m), phycoerythrin_fluorescence (-2.4m, -8.2m, -13.0m), mass_concentration_of_oxygen_in_sea_water (-2.4m, -8.2m, -13.0m), fractional_saturation_of_oxygen_in_sea_water (-2.4m, -8.2m, -13.0m), mole_concentration_of_nitrate_in_sea_water (-2.4m, -8.2m, -13.0m), sea_water_ph_reported_on_total_scale (-2.4m, -8.2m, -13.0m)
NANOOS | urn:ioos:station:nanoos:cmop_saturn05 | SRFW1 | SATURN River Station 05 (LOBO Station) | CMOP_Saturn05. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Saturn05 and http://www.stccmop.org/datamart/observation_network/fixedstation?station=saturn05 | 46.1845 | -123.1874 | fixed | > 5 yr | Y |  | N | OHSU | academic | OHSU |  | sea_water_temperature (-2.5m), sea_water_pressure (-2.5m), sea_water_electrical_conductivity (-2.5m), mass_concentration_of_chlorophyll_in_sea_water (-2.5m), sea_water_turbidity (-2.5m), cdom (-2.5m), mass_concentration_of_oxygen_in_sea_water (-2.5m), fractional_saturation_of_oxygen_in_sea_water (-2.5m) | Stations remain operational, but transitioned to USGS
NANOOS | urn:ioos:station:nanoos:cmop_saturn06 | PRTO3 | SATURN River Station 06 (USGS Station) | CMOP_Saturn06. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Saturn06 and http://www.stccmop.org/datamart/observation_network/fixedstation?station=saturn06 | 45.5186 | -122.6667 | river_level_station | > 5 yr | Y |  | N | USGS | gov_federal | USGS |  | sea_water_temperature (-0.5m), depth (-0.5m), sea_water_speed (-0.5m), river_discharge (-0.5m), mass_concentration_of_chlorophyll_in_sea_water (-0.5m), turbidity (-0.5m), mass_concentration_of_oxygen_in_sea_water (-0.5m), fractional_saturation_of_oxygen_in_sea_water (-0.5m), sea_water_ph_reported_on_total_scale (-0.5m) | Stations remain operational, but transitioned to USGS
NANOOS | urn:ioos:station:nanoos:cmop_saturn07 | 46116 | SATURN-07 | CMOP_Saturn07. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Saturn07 and http://www.stccmop.org/datamart/observation_network/fixedstation?id=saturn07 | 46.286 | -124.0151 | moored_buoy | > 5 yr | O |  | Yp | CMOP | academic | CMOP |  | sea_water_temperature (-1.0m), sea_water_salinity (-1.0m), mass_concentration_of_chlorophyll_in_sea_water (-1.0m), sea_water_turbidity (-1.0m), cdom (-1.0m), mass_concentration_of_oxygen_in_sea_water (-1.0m), fractional_saturation_of_oxygen_in_sea_water (-1.0m) | Redeployment is planned for Jan 2021. Mooring replacement was delayed due COVID-19 restrictions
NANOOS | urn:ioos:station:nanoos:cmop_saturn08 | SRAW1 | SATURN-08 (LOBO Station) | CMOP_Saturn08. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Saturn08 and http://www.stccmop.org/datamart/observation_network/fixedstation?id=saturn08 | 45.577 | -122.379 | moored_buoy | 09/2013 | U |  | N | OHSU | academic | OHSU |  | sea_water_temperature (-0.8m), sea_water_pressure (-0.8m), mass_concentration_of_chlorophyll_in_sea_water (-0.8m), sea_water_turbidity (-0.8m), cdom (-0.8m), mass_concentration_of_oxygen_in_sea_water (-0.8m), fractional_saturation_of_oxygen_in_sea_water (-0.8m), mole_concentration_of_nitrate_in_sea_water (-0.8m) | Station is maintained by Needoba/Peterson lab at OHSU, formerly part of CMOP. Transmission of data to NVS and NCEI is managed by CMOP. Station is not funded by NANOOS and redeployment is contingent on external funding.
NANOOS | urn:ioos:station:nanoos:cmop_saturn09 | N/A | SATURN-09 | CMOP_Saturn09. At Columbia Estuary, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:CMOP_Saturn09 and http://www.stccmop.org/datamart/observation_network/fixedstation?id=saturn09 | 46.1765 | -123.8693 | fixed | 09/2014 | Y |  | Yp | CMOP | academic | CMOP |  | sea_water_temperature (-0.5m), sea_water_salinity (-0.5m), mass_concentration_of_chlorophyll_in_sea_water (-0.5m), sea_water_turbidity (-0.5m), cdom (-0.5m), mass_concentration_of_oxygen_in_sea_water (-0.5m), fractional_saturation_of_oxygen_in_sea_water (-0.5m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:fbo_fannybay1 | N/A | Fanny Bay Oysters, Baynes Sound | Fanny Bay Oysters. At Baynes Sound, Strait of Georgia, British Columbia. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:FBO_Fannybay1 and http://www.fannybayoysters.com | 49.4716 | -124.7927 | fixed | 02/2017 | Y |  | N | FannyBayOysters | industry | FannyBayOysters |  | sea_water_temperature (-6m), sea_water_salinity (-6m), sea_water_ph_reported_on_total_scale (-6m), dissolved_inorganic_carbon (-6m), Omega_aragonite (-6m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-6m), total_alkalinity (-6m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:fhl_friharbor1 | N/A | UW Friday Harbor Laboratories Cantilever Pt | FHL-UW Friday Harbor. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:FHL_Friharbor1 and http://depts.washington.edu/fhl/wx.html | 48.5461 | -123.0077 | fixed | > 5 yr | Y |  | N | UW | academic | UW |  | air_temperature (3m), relative_humidity (3m), rainfall_rate (3m), net_downward_shortwave_flux_in_air (3m), wind_from_direction (4m), wind_speed (4m), sea_water_temperature (-1.7m), sea_water_salinity (-1.7m), surface_downwelling_photosynthetic_radiative_flux_in_air (3m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:hakai_kcbuoy | N/A | Seaology CO2 Buoy in Kwakshua Channel, BC | Hakai KC Buoy. At Kwakshua Channel, Queen Charlotte Sound, British Columbia. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:HAKAI_KCBuoy and https://www.hakai.org/blog/life-at-hakai/its-a-buoy | 51.6501 | -127.9664 | moored_buoy | 05/2018 | Y |  | N | Hakai Institute | academic | Hakai Institute |  | air_temperature (3m), surface_air_pressure (3m), wind_from_direction (3m), wind_speed (3m), surface_partial_pressure_of_carbon_dioxide_in_air (1m), sea_water_temperature (-0.5m), sea_water_salinity (-0.5m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-0.5m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:hakai_quadra1 | N/A | Quadra Island Field Station at Hyacinthe Bay | Hakai Quadra Island. At Sutil Channel, Strait of Georgia, British Columbia. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:HAKAI_Quadra1 and https://www.hakai.org/blog/science-coastal-margin/meet-burke-o-lator | 50.116 | -125.222 | fixed | < 5 yr | Y |  | N | Hakai Institute | academic | Hakai Institute |  | sea_water_temperature (-1.0m), sea_water_salinity (-1.0m), sea_water_ph_reported_on_total_scale (-1.0m), dissolved_inorganic_carbon (-1.0m), Omega_aragonite (-1.0m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-1.0m), total_alkalinity (-1.0m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:kc_nsaj02 | N/A | Dockton Park Pier Mooring - Inner Quartermaster Harbor, Vashon Island | KC_NSAJ02. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:KC_NSAJ02 and http://green2.kingcounty.gov/marine-buoy/7DayGraph.aspx?siteID=2 | 47.3728 | -122.4534 | fixed | > 5 yr | Y |  | N | King County | gov_municipal | King County |  | air_temperature (7.6m), surface_air_pressure (7.6m), relative_humidity (7.6m), precipitation_accumulated (7.6m), wind_from_direction (7.6m), wind_speed (7.6m), sea_water_temperature (VARIABLE), sea_water_salinity (VARIABLE), depth (VARIABLE), surface_downwelling_photosynthetic_radiative_flux_in_air (7.6m), mass_concentration_of_chlorophyll_in_sea_water (VARIABLE), sea_water_turbidity (VARIABLE), mass_concentration_of_oxygen_in_sea_water (VARIABLE), fractional_saturation_of_oxygen_in_sea_water (VARIABLE), sea_water_ph_reported_on_total_scale (VARIABLE) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:kc_ptwilliams | N/A | Point Williams buoy, South Seattle | KC_PTWILLIAMS. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:KC_PTWILLIAMS and http://green2.kingcounty.gov/marine-buoy/7DayGraph.aspx?SiteID=9 | 47.5372 | -122.4061 | moored_buoy | 07/2013 | Y |  | N | King County | gov_municipal | King County |  | sea_water_temperature (-1m), sea_water_salinity (-1m), mass_concentration_of_chlorophyll_in_sea_water (-1m), sea_water_turbidity (-1m), mass_concentration_of_oxygen_in_sea_water (-1m), fractional_saturation_of_oxygen_in_sea_water (-1m), mole_concentration_of_nitrate_in_sea_water (-1m), sea_water_ph_reported_on_total_scale (-1m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:kc_seaqysi | N/A | Seattle Aquarium Mooring - Elliott Bay | Seattle Aquarium. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:KC_SEAQYSI and http://green2.kingcounty.gov/marine-buoy/7DayGraph.aspx?SiteID=1 | 47.608 | -122.3438 | fixed | > 5 yr | Y |  | N | King County | gov_municipal | King County |  | air_temperature (7.6m), surface_air_pressure (7.6m), relative_humidity (7.6m), precipitation_accumulated (7.6m), wind_from_direction (7.6m), wind_speed (7.6m), sea_water_temperature (-1m, -10m), sea_water_salinity (-1m, -10m), surface_downwelling_photosynthetic_radiative_flux_in_air (7.6m), mass_concentration_of_chlorophyll_in_sea_water (-1m, -10m), sea_water_turbidity (-1m, -10m), mass_concentration_of_oxygen_in_sea_water (-1m, -10m), fractional_saturation_of_oxygen_in_sea_water (-1m, -10m), sea_water_ph_reported_on_total_scale (-1m, -10m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-10m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:kc_ycqmh01 | N/A | Yacht Club Mooring - Inner Quartermaster Harbor, Vashon Island | KC_YCQMH01. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:KC_YCQMH01 and http://green2.kingcounty.gov/marine-buoy/7DayGraph.aspx?siteID=8 | 47.3942 | -122.4635 | fixed | > 5 yr | Y |  | N | King County | gov_municipal | King County |  | sea_water_temperature (VARIABLE), sea_water_salinity (VARIABLE), depth (VARIABLE), mass_concentration_of_chlorophyll_in_sea_water (VARIABLE), mass_concentration_of_oxygen_in_sea_water (VARIABLE), fractional_saturation_of_oxygen_in_sea_water (VARIABLE), sea_water_ph_reported_on_total_scale (VARIABLE) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:nerrs_soscwq | CWQO3 | Station SOSCWQ - Charleston Bridge, South Slough Reserve | NERRS_SOSCWQ. At South Slough, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:NERRS_SOSCWQ and http://nerrsdata.org/get/realTime.cfm?stationCode=soschwq | 43.338 | -124.321 | fixed | > 5 yr | O |  | Yp | South Slough NERR | gov_federal | South Slough NERR |  | sea_water_temperature (VARIABLE), sea_water_salinity (VARIABLE), depth (VARIABLE), sea_water_turbidity (VARIABLE), mass_concentration_of_oxygen_in_sea_water (VARIABLE), fractional_saturation_of_oxygen_in_sea_water (VARIABLE), sea_water_ph_reported_on_total_scale (VARIABLE) | NERR station supported by NANOOS. Will be redeployed in 2020, after resiting and refurbishing.
NANOOS | urn:ioos:station:nanoos:nerrs_sosecwq | SLOO3 | Station SOSECWQ - Elliot Creek, South Slough Reserve | NERRS_SOSECWQ. At South Slough, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:NERRS_SOSECWQ and http://nerrsdata.org/get/realTime.cfm?stationCode=SOSECWQ | 43.2965 | -124.3107 | fixed | 05/2012 | Y |  | Yp | South Slough NERR | gov_federal | South Slough NERR |  | sea_water_temperature (VARIABLE), sea_water_salinity (VARIABLE), depth (VARIABLE), sea_water_turbidity (VARIABLE), mass_concentration_of_oxygen_in_sea_water (VARIABLE), fractional_saturation_of_oxygen_in_sea_water (VARIABLE), sea_water_ph_reported_on_total_scale (VARIABLE) | NERR station supported by NANOOS.
NANOOS | urn:ioos:station:nanoos:nerrs_sosnswq | N/A | SOSNSWQ Station - North Spit-BLM Boat Ramp near North Bend | SSNERR-CTCLUSI SOSNSWQ. At Coos Bay, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:NERRS_SOSNSWQ and http://amazon.nws.noaa.gov/cgi-bin/hads/interactiveDisplays/displayMetaData.pl?table=dcp&nesdis_id=346F229A | 43.4139 | -124.2789 | fixed | 2013 | Y |  | Yp | South Slough NERR | gov_federal | South Slough NERR |  | sea_water_temperature (VARIABLE), sea_water_salinity (VARIABLE), depth (VARIABLE), sea_water_turbidity (VARIABLE), mass_concentration_of_oxygen_in_sea_water (VARIABLE), fractional_saturation_of_oxygen_in_sea_water (VARIABLE), sea_water_ph_reported_on_total_scale (VARIABLE) | Station is not on the NERRS CDMO, and NANOOS does not push this data to NDBC
NANOOS | urn:ioos:station:nanoos:nerrs_sostcmet | SNTO3 | Tom's Creek (sostcmet), South Slough Reserve | NERRS_sostcmet. At South Slough, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:NERRS_sostcmet and http://nerrsdata.org/get/realTime.cfm?stationCode=sostcmet | 43.2791 | -124.3184 | fixed | 10/2016 | Y |  | Yp | South Slough NERR | gov_federal | South Slough NERR |  | air_temperature (3m), surface_air_pressure (3m), relative_humidity (3m), precipitation_accumulated (3m), wind_from_direction (3m), wind_speed (3m), wind_speed_of_gust (3m), surface_downwelling_photosynthetic_radiative_flux_in_air (3m) | NERR station supported by NANOOS. Telemetry is currently down, but new transmitter is planned to be reinstalled shortly.
NANOOS | urn:ioos:station:nanoos:nerrs_sosvawq | SOQO3 | Valino Island (sosvawq), South Slough Reserve | NERRS_SOSVAWQ. At South Slough, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:NERRS_SOSVAWQ and http://nerrsdata.org/get/realTime.cfm?stationCode=sosvawq | 43.3172 | -124.3216 | fixed | > 5 yr | Y |  | Yp | South Slough NERR | gov_federal | South Slough NERR |  | sea_water_temperature (VARIABLE), sea_water_salinity (VARIABLE), depth (VARIABLE), sea_water_turbidity (VARIABLE), mass_concentration_of_oxygen_in_sea_water (VARIABLE), fractional_saturation_of_oxygen_in_sea_water (VARIABLE), sea_water_ph_reported_on_total_scale (VARIABLE) | NERR station supported by NANOOS.
NANOOS | urn:ioos:station:nanoos:nerrs_soswiwq | CHQO3 | Station SOSWIWQ - Winchester Arm, South Slough Reserve | NERRS_SOSWIWQ. At South Slough, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:NERRS_SOSWIWQ and http://nerrsdata.org/get/realTime.cfm?stationCode=soswiwq | 43.282 | -124.32 | fixed | > 5 yr | Y |  | Yp | South Slough NERR | gov_federal | South Slough NERR |  | sea_water_temperature (VARIABLE), sea_water_salinity (VARIABLE), depth (VARIABLE), sea_water_turbidity (VARIABLE), mass_concentration_of_oxygen_in_sea_water (VARIABLE), fractional_saturation_of_oxygen_in_sea_water (VARIABLE), sea_water_ph_reported_on_total_scale (VARIABLE) | NERR station supported by NANOOS.
NANOOS | urn:ioos:station:nanoos:nwic_bellinghambay | 46118 | Se`lhaem Bellingham Bay buoy | NWIC Bellingham Bay. At Bellingham Bay, Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:NWIC_Bellinghambay and http://orca.ocean.washington.edu/prod_BB_BellBay.shtml | 48.7237 | -122.5765 | moored_buoy | 02/2016 | Y |  | Yp | UW | academic | NWIC |  | air_temperature (2m), surface_air_pressure (2m), relative_humidity (2m), dew_point_temperature (2m), wind_from_direction (2.97m), wind_speed (2.97m), wind_speed_of_gust (2.97m), sea_water_temperature (-0.5m, -18m), sea_water_salinity (-0.5m, -18m), sea_water_pressure (-0.5m, -18m), mass_concentration_of_chlorophyll_in_sea_water (-0.5m), sea_water_turbidity (-0.5m), cdom (-0.5m), mass_concentration_of_oxygen_in_sea_water (-0.5m, -18m), sea_water_ph_reported_on_total_scale (-0.5m, -18m)
NANOOS | urn:ioos:station:nanoos:orca_dabobbay | 46122 | Profiling Buoy at Dabob Bay - Hood Canal | ORCA Dabob Bay. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:ORCA_Dabobbay and http://orca.ocean.washington.edu/prod_PS_Dabob.shtml | 47.8034 | -122.8029 | profiling_buoy | 06/2010 | Y |  | Yp | UW | academic | UW |  | surface_partial_pressure_of_carbon_dioxide_in_air (2m), sea_water_temperature (-2m, -20m, -95m), sea_water_salinity (-2m, -20m, -95m), sea_water_sigma_t (-2m, -20m, -95m), mass_concentration_of_oxygen_in_sea_water (-2m, -20m, -95m), fractional_saturation_of_oxygen_in_sea_water (-2m, -20m, -95m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-0.1m)
NANOOS | urn:ioos:station:nanoos:orca_hansville | 46125 | Profiling Buoy at Hansville - Hood Canal | ORCA_Hansville. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:ORCA_Hansville and http://orca.ocean.washington.edu/prod_PS_NorthB.shtml | 47.9073 | -122.627 | profiling_buoy | > 5 yr | Y |  | Yp | UW | academic | UW |  | air_temperature (2m), surface_air_pressure (2m), relative_humidity (2m), dew_point_temperature (2m), wind_from_direction (2m), wind_speed (2m), wind_speed_of_gust (2m), sea_water_temperature (PROFILE), sea_water_salinity (PROFILE), sea_water_sigma_t (PROFILE), mass_concentration_of_chlorophyll_in_sea_water (PROFILE), mass_concentration_of_oxygen_in_sea_water (PROFILE), fractional_saturation_of_oxygen_in_sea_water (PROFILE)
NANOOS | urn:ioos:station:nanoos:orca_hoodsport | 46124 | Profiling Buoy at Hoodsport - Hood Canal | ORCA_Hoodsport. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:ORCA_Hoodsport and http://orca.ocean.washington.edu/prod_PS_Hoodsport.shtml | 47.4218 | -123.1126 | profiling_buoy | > 5 yr | Y |  | Yp | UW | academic | UW |  | sea_water_temperature (PROFILE), sea_water_salinity (PROFILE), sea_water_sigma_t (PROFILE), mass_concentration_of_chlorophyll_in_sea_water (PROFILE), mass_concentration_of_oxygen_in_sea_water (PROFILE), fractional_saturation_of_oxygen_in_sea_water (PROFILE)
NANOOS | urn:ioos:station:nanoos:orca_twanoh | 46123 | Profiling Buoy at Twanoh - Hood Canal | ORCA_Twanoh. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:ORCA_Twanoh and http://orca.ocean.washington.edu/prod_PS_Twanoh.shtml | 47.375 | -123.0083 | profiling_buoy | > 5 yr | Y |  | Yp | UW | academic | UW |  | air_temperature (2m), surface_air_pressure (2m), dew_point_temperature (2m), wind_from_direction (2m), wind_speed (2m), wind_speed_of_gust (2m), surface_partial_pressure_of_carbon_dioxide_in_air (2m), sea_water_temperature (PROFILE), sea_water_salinity (PROFILE), sea_water_sigma_t (PROFILE), surface_downwelling_photosynthetic_radiative_flux_in_air (2m), mass_concentration_of_chlorophyll_in_sea_water (PROFILE), mass_concentration_of_oxygen_in_sea_water (PROFILE), fractional_saturation_of_oxygen_in_sea_water (PROFILE), sea_water_ph_reported_on_total_scale (-1m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-0.1m)
NANOOS | urn:ioos:station:nanoos:osu_cb06 | 46128 | CB-06, 6NM W of Coos Bay | OSU CB-06. At Coos Bay, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:OSU_CB06 and http://ceoas.oregonstate.edu | 43.2916 | -124.5383 | moored_buoy | 06/2017 | Y |  | Yp | OSU | academic | OSU |  | net_downward_shortwave_flux_in_air (2.1m), wind_from_direction (2.7m), wind_speed (2.7m), surface_partial_pressure_of_carbon_dioxide_in_air (3m), sea_water_temperature (-1m, -1.5m), sea_water_salinity (-1m, -1.5m), sea_water_ph_reported_on_total_scale (-1m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-1m)
NANOOS | urn:ioos:station:nanoos:osu_yaquina | N/A | OSU Yaquina Bay site, Newport | OSU Yaquina. At Newport, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:OSU_Yaquina and https://seagrant.oregonstate.edu/ | 44.6311 | -124.0491 | fixed | 01/2019 | Y |  | N | Oregon Sea Grant | academic | Oregon Sea Grant |  | sea_water_temperature (-0.9m, -2.1m, -3.4m), sea_water_salinity (-0.9m, -2.1m, -3.4m) | New station deployed in 2019
NANOOS | urn:ioos:station:nanoos:pcs_penncove1 | N/A | Penn Cove Shellfish, Coupeville - Whidbey Island | Penn Cove Shellfish. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:PCS_Penncove1 and http://penncoveshellfish.com/sustainability.html | 48.2191 | -122.7048 | mooring | < 5 yr | O |  | N | PennCoveShellfish | industry | PennCoveShellfish |  | sea_water_temperature (-1m, -5m, -7m), sea_water_salinity (-1m, -5m, -7m), mass_concentration_of_chlorophyll_in_sea_water (-1m, -7m), mass_concentration_of_oxygen_in_sea_water (-1m, -5m, -7m), fractional_saturation_of_oxygen_in_sea_water (-1m, -5m, -7m), sea_water_ph_reported_on_total_scale (-1m, -5m, -7m) | Data transmission to NANOOS is currently not operational, but is expected to resume in 2020. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:pcs_quilcene | N/A | Penn Cove Shellfish, Quilcene - Hood Canal | Penn Cove Shlfsh - Quilcene. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:PCS_Quilcene and http://penncoveshellfish.com/sustainability.html | 47.7874 | -122.8527 | mooring | < 5 yr | N |  | N | PennCoveShellfish | industry | PennCoveShellfish |  | sea_water_temperature (-1m, -7m), sea_water_salinity (-1m, -7m), mass_concentration_of_chlorophyll_in_sea_water (-1m, -7m), mass_concentration_of_oxygen_in_sea_water (-1m, -7m), fractional_saturation_of_oxygen_in_sea_water (-1m, -7m), sea_water_ph_reported_on_total_scale (-1m, -7m) | Station was decommissioned in November. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:psi_baycenter | N/A | PCSGA - Bay Center Port mooring, Willapa Bay | PSI-PCSGA Bay Center. At Willapa Bay, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:PSI_Baycenter and http://pacshell.org | 46.629 | -123.9516 | fixed | > 5 yr | O |  | N | PSI | nonprofit | PSI |  | sea_water_temperature (-0.3m), sea_water_salinity (-0.3m), mass_concentration_of_oxygen_in_sea_water (-0.3m), fractional_saturation_of_oxygen_in_sea_water (-0.3m), sea_water_ph_reported_on_total_scale (-0.3m), dissolved_inorganic_carbon (-0.3m), Omega_aragonite (-0.3m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-0.3m), total_alkalinity (-0.3m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:psi_nahcotta | N/A | PCSGA - Nahcotta Port hatchery mooring, Willapa Bay | PSI-PCSGA Nahcotta. At Willapa Bay, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:PSI_Nahcotta and http://pacshell.org | 46.5007 | -124.0304 | fixed | > 5 yr | O |  | N | PSI | nonprofit | PSI |  | sea_water_temperature (-0.3m), sea_water_salinity (-0.3m), mass_concentration_of_oxygen_in_sea_water (-0.3m), fractional_saturation_of_oxygen_in_sea_water (-0.3m), sea_water_ph_reported_on_total_scale (-0.3m, -0.6m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:psi_tokeland | N/A | PCSGA - Tokeland mooring, Willapa Bay | PSI-PCSGA Tokeland. At Willapa Bay, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:PSI_Tokeland and http://pacshell.org | 46.715 | -123.975 | fixed | > 5 yr | O |  | N | PSI | nonprofit | PSI |  | sea_water_temperature (-0.3m), sea_water_salinity (-0.3m), mass_concentration_of_chlorophyll_in_sea_water (-0.3m), mass_concentration_of_oxygen_in_sea_water (-0.3m), fractional_saturation_of_oxygen_in_sea_water (-0.3m), sea_water_ph_reported_on_total_scale (-0.3m), redox_potential (-0.3m) | Station now has telemetry, and transmission to NANOOS will be established in 2020. Data logging has been in place since initial deployment. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:stti_portsusan | N/A | Port Susan buoy, Stillaguamish Tribe | STTI Port Susan. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:STTI_Portsusan and http://www.stillaguamish.com/remotehydrolab.asp | 48.175 | -122.42 | moored_buoy | > 5 yr | O |  | N | StillaguamishTribe | tribal | StillaguamishTribe |  | sea_water_temperature (-1.2m), sea_water_salinity (-1.2m), mass_concentration_of_chlorophyll_in_sea_water (-1.2m), sea_water_turbidity (-1.2m), mass_concentration_of_oxygen_in_sea_water (-1.2m), fractional_saturation_of_oxygen_in_sea_water (-1.2m), sea_water_ph_reported_on_total_scale (-1.2m), redox_potential (-1.2m) | Telemetry and transmission to NANOOS not currently available. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:taf_dabobbay | N/A | PCSGA - Taylor Shellfish Hatchery intakes, Dabob Bay | Taylor-PCSGA Dabob. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:TAF_Dabobbay and http://www.taylorshellfishfarms.com | 47.8199 | -122.8215 | fixed | > 5 yr | O |  | Yp | TaylorShellfish | industry | TaylorShellfish |  | sea_water_temperature (-4.5m), sea_water_salinity (-4.5m), fractional_saturation_of_oxygen_in_sea_water (-4.5m), sea_water_ph_reported_on_total_scale (-4.5m), dissolved_inorganic_carbon (-4.5m), Omega_aragonite (-4.5m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-4.5m), total_alkalinity (-4.5m) | NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_burley | N/A | Burley Lagoon site, N end of Henderson Bay | WADOH Burley Lagoon. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Burley and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.3836 | -122.6374 | mooring | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_hendrsnbay1 | N/A | Henderson Bay site, W shore | WADOH Henderson Bay. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_HendrsnBay1 and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.3612 | -122.6966 | fixed | 2016 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal, redeployed in 2019 after more than one year absence. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_hoodcanal1 | N/A | Hood Canal 1 site, W shore of Hood Canal near Case Shoal | WADOH Hood Canal 1. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Hoodcanal1 and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.849 | -122.6837 | fixed | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_hoodcanal5 | N/A | Hood Canal 5 site, S shore of Hood Canal near Hoodsport | WADOH Hood Canal 5. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Hoodcanal5 and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.4206 | -123.1302 | fixed | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_kilisutharbor | N/A | Kilisut Harbor Site, NE shore | WADOH Kilisut Harbor. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_KilisutHarbor and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 48.0764 | -122.7138 | mooring | 06/2019 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal, new station. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_oakland | N/A | Oakland Bay site, Rafts by Chapman Cove | WADOH Oakland Bay. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Oakland and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.2301 | -123.0498 | mooring | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_peale | N/A | Peale Passage site, W shore near Seafarm Cove | WADOH Peale Passage. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Peale and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.2006 | -122.9036 | mooring | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_pickering | N/A | Pickering Passage site, E shore near Graham Point | WADOH Pickering Passage. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Pickering and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.2558 | -122.9281 | fixed | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_samish | N/A | Samish Bay site, mid bay | WADOH Samish Bay. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Samish and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 48.5965 | -122.4864 | fixed | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_skookum1 | N/A | Skookum Inlet site, N shore near Deer Harbor | WADOH Skookum Inlet. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Skookum1 and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.1548 | -123.0204 | mooring | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_totten | N/A | Totten Inlet site, N end near Gallagher Cove | WADOH Totten Inlet N. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_Totten and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.1476 | -122.9752 | fixed | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wadoh_tottens | N/A | Totten Inlet site, S end in Oyster Bay | WADOH Totten Inlet S. At Puget Sound, Washington. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WADOH_TottenS and http://www.doh.wa.gov/CommunityandEnvironment/Shellfish/CommercialShellfish/ForIndustryMembers/VibrioRuleRequirements/TemperatureData | 47.1282 | -123.0186 | mooring | 2015 | O |  | N | WADOH | gov_state | WADOH |  | air_temperature (2m), sea_water_temperature (-1m), sea_water_salinity (-1m), sea_water_electrical_conductivity (-1m) | Seasonal. NANOOS does not push this data to NDBC.
NANOOS | urn:ioos:station:nanoos:wcsh_whiskey1 | N/A | PCSGA - Whiskey Creek Shellfish Hatchery, Netarts Bay | WCSH-PCSGA Whiskey Crk. At Netarts Bay, Oregon. See http://nvs.nanoos.org/Explorer?action=oiw:fixed_platform:WCSH_Whiskey1 and http://seagrant.oregonstate.edu/confluence/2-1/whiskey-creek-1 | 45.4214 | -123.9362 | fixed | > 5 yr | O |  | Yp | WhiskeyCrShelfish | industry | WhiskeyCrShelfish |  | sea_water_temperature (-4m), sea_water_salinity (-4m), sea_water_ph_reported_on_total_scale (-4m), dissolved_inorganic_carbon (-4m), Omega_aragonite (-4m), surface_partial_pressure_of_carbon_dioxide_in_sea_water (-4m), total_alkalinity (-4m) | NANOOS does not push this data to NDBC.

## README
NANOOS 2020 Observing Asset Inventory
Notes on asset selection for inclusion:
- Included some assets deployed and collecting data during CY2020 but not transmitting data to NANOOS due to technical problems. Data ingest for these assets may be restored in 2021.
- Excluded or flagged as N other deployed assets known to only have internal data logging and infrequent manual data downloads.
- As in previous years, assets from South Slough NERR are included. These federal stations are partly funded by NANOOS and thus should be included, according to the Guidance.
- Assets new to the NANOOS inventory this year include stations deployed for the first time, others that were deployed prior to 2018, and one that has no telemetry but is now being archived with NCEI.
- See the NANOOS DMAC Addendum for additional discussion
Notes on depths:
- Variables measured on depth-profiling instruments are indicated as "(PROFILE)"
- Variables measured on instruments fixed relative to the seafloor have a time-varying depth relative to the water surface, and are indicated as "(VARIABLE)"
General Note:
-All WA DOH stations have been offline since either 2019 or Jan 2020. PCSGA stations are all down since 2019. Penn Cove shellfish is also down since 2019. NERRS Charleston Bridge station was listed as offline, to be restored in 2020, and last had data in Dec 2019. All other NERRS stations are active. Former CMOP stations SATURN-08 is now managed by OHSU Peterson/Needoba lab and is currently offline. Former CMOP station SATURN-06 is now a USGS station. Former CMOP station SATURN-05 is a USGS station with OHSU Peterson/Needoba lab involved in maintenance.

## IOOS_2017_Definitions
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
RA name | (Optional) Any unique digital or alphanumeric identifier assigned by the RA or affiliate (e.g. CDIP) to distinguish the station. (e.g. 204; GAK Seward, SUN2, NH-10, etc). Does NOT include the WMO ID or CMAN ID (see next column). Leave blank if none. | (Required) The World Meteorological Organization 5-digit station identifier (WMO ID) is assigned to ocean platforms (drifting buoys, moored buoys, ocean reference sites, and profiling floats). e.g. 48088. The National Weather Service 5-digit alphanumerical identifier (e.g. the National Data Buoy Center CMAN ID) is assigned to shore-based stations. (e.g. HBYC1). For special cases where an ID is not assigned, put N/A and briefly indicate why in the notes. | (Required) Station name. e.g. Red Bank - Garden Banks, Fripps Inlet, etc. | (Optional) Anything descriptive about the station. This is a freeform field. | (Required) | (Required) | (Required) A structure or vehicle designed to hold one or more sensors such that the intended oceanographic or atmospheric variable(s) can be monitored or measured in a manner designed for the ocean observing system or scientific hypotheses. Use terms listed in the IOOS Platform Vocabulary: http://mmisw.org/ont/ioos/platform (e.g. buoy, profiling buoy, moored buoy, wave buoy, fixed, offshore tower, profile) | (Required) The time when the station became operational. This can be determined by the first data record or an installation date. This indicates the first time the station was deployed - not the last or latest, but the first time - even if IOOS was not established yet. Accepted responses: Please provide a month and year (mm/yyyy). If the actual deployment date is not known then provide a year (yyyy), or "< 5 yr" (any date on/after 1/1/2013) or "> 5 yr" (any date on/before 12/31/2012) . If not available, please indicate why in the notes column. | (Required) Is the asset deployed and collecting data? Y = Yes (this includes seasonal buoys intended for redeployment). N = No (it was uninstalled/removed, or is offline with no intent to repair). O = Offline (temporary outage, with intent to repair or redeploy). U = Unknown (e.g. funding uncertainty for repair/redeployment, or operator's plans are unknown). If O or U, please indicate why in the notes column. | (Optional) A person, group, or organization’s full or partial support of the asset. (e.g. AOOS, USACE). Does not include support for data management activities. Multiple groups may be listed. | (Required) Does the RA currently fund the asset? This excludes support for data management activities. Yf = Fully funds. Yp = Partially funds. N = No funding. | (Required) IOOS Vocabulary definition: "Platform operator used as classifier or contact type; will often be the platform owner as well..." Akin to the Creator_name attribute in netCDF: "The person/organization that (primarily) collects the data." In general, the person/group/institution principally responsible for operating the station. Note that most of the time this is also the group that maintains the asset. | (Required) Use the IOOS Organization Societal Sector Vocabulary. (Academic, industry, tribal, nonprofit, gov_state, gov_federal, etc). Underscores required. http://mmisw.org/ont/ioos/sector | (Optional) The organization with the primary responsibility for providing the maintenance of the platorm/sensors today (e.g. University of Wisconsin-Milwaukee). In most cases this will be the same as the platform operator. This is the group that conducts maintenance activities - this does not include the group that funds the maintenance (that group should fall under Platform Funder/Sponsor). | (Optional) The organization that is responsible for the data management activities. This does not mean the organization that funds the data management. | (Required) A list of observed variables that are associated with each station, with the depth(s) of the each measured oceanographic variable in parentheses following the variable name. 'Depths' not required for meteorological variables. If the variable is ONLY measured at the surface and no other dpeth, you do not need to include any parentheses/depth - just state the variable name. Use CF names (http://cfconventions.org/Data/cf-standard-names/47/build/cf-standard-name-table.html), and if the variable is not available in CF then use the IOOS parameter vocabulary (http://mmisw.org/ont/ioos/parameter). Accepted responses: sea_water_temperature (1 m, 10 m, 40 m), or sea_water_temperature (sfc, 10 m, 40 m), or sea_water_temperature (sfc and 2 depths), or mass_concentration_of_chlorophyll_in_sea_water. The latter means chlorophyll is measured only at the surface. Please provide all variables for the asset in a single cell in the spreadsheet (do not separate by row). | (Optional) Any additional information that does not fit in the template that you think is relevant, or provides context.