## 2020 RA assets
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
AOOS | CSESM |  | Chukchi Sea Ecosystem Mooring (CSESM) Array | Hannah Shoal subsurface ecosystem mooring; Seabird 37sm, SBE SEAPHox, Contros HYDRO-C, Satlantic SUNA, Hydrobios, Aural Sequoia LISST, Teledyne ADCP, Aanderaa RCM9, | 71.6 | -161.5 | moored_buoy | 2015-09-01 | Y | AOOS, NPRB, UAF, others | Yp | UAF_COFS | Academic | UAF | AOOS | sea_water_temperature (35m, 48m, near-bottom), sea_water_electrical_conductivity (35m, 48m, near-bottom), sea_water_practical_salinity (35m, 48m, near-bottom), current_velocity (3-30 m, 1m bins; near-bottom), sea_surface_wave_significant_height, sea_surface_wave_to_direction, sea_surface_wave_mean_period, nitrate (35m), dissolved_oxygen (35 m), sea_water_pH_reported_on_total_scale (35 m), partial_pressure_of_carbon_dioxide_in_sea_water (35 m), sediment_trap_parameters (38m), fish_and_plankton_acoustic_profile (0.5-30m in 4 cm bins), partical_size_spectra (35 m), sea_water_pressure (35 m, near bottom) | Rotated Annually. ~1 year lag on data ingestion. NOT SURE OF CF NAMES for all these variables as it depends on the units; Not sure what sediment trap parameters are being reported; not sure CF name for fish and plankton acoustics; not sure CF name for partical size. These data are being processed in the workspace…as soon as I know the variables reported out, I will update. 2018 (KB: Don't worry about CF names, I'll figure it out).
AOOS | urn:gulf-of-alaska-ecosystem-obse |  | Gulf of Alaska Ecosystem Observatory-GEO1 | Surface real time mooring: CDOM, 150kHz ADCP, SBE 37 TSP, ITP (Profiling CTD_ conductivity, temperature, pressure, salinity, depth, Chlorophyll, CDOM, OBS, DO, NO3), GPS, wind speed, wind direction, air temp, relative humidity, dew point, barometric pressure, downwelling photosynthetic photon flux in sea water | 59.0142 | -148.6902 | Fixed moored_buoy | 2019-07-11 | Y | M.J. Murdock Charitable Trust, AOOS, NPRB, Gulf Watch (Exxom Valdez Oil Spill Trustees Council) , UAF, NSF-LTER, others | Yp | UAF_COFS | Academic | UAF | AOOS | Real time mooring: 150kHz ADCP (205m), SBE 37 TSP (205m), ITP (Profiling CTD: sea_water_electrical_conductivity, sea_water_temperature, sea_water_pressure, sea_water_practical_salinity, depth, mass_concentration_of_chlorophyll_in_sea_water, CDOM, OBS, DO, NO3); GPS, wind_speed, wind_from_direction, air_temperature, relative_humidity, dew_point_temperature, air_pressure, downwelling_photosynthetic_photon_flux_in_sea_water (1m), mass_concentration_of_chlorophyll_in_sea_water (1m) | The buoy is not serving real time data feeds from the profiling CTD the ADCP current meter. The Surface MET sensors and the 1 m fluorometer and PAR are reporting data realtime. Woill work on WMO assignments in 2020.
AOOS | urn:gulf-of-alaska-ecosystem-obse-1 |  | Gulf of Alaska Ecosystem Observatory-GEO3 | Surface real time mooring: GPS, wind speed, wind direction, air temp, relative humidity, dew point, barometric pressure, Chlorophyll | 59.0165 | -148.696 | Fixed moored_buoy | 2019-07-11 | Y | M.J. Murdock Charitable Trust, AOOS, NPRB, Gulf Watch (Exxom Valdez Oil Spill Trustees Council) , UAF, NSF-LTER, others | Yp | UAF_COFS | Academic | UAF | AOOS | Real time mooring: GPS, wind_speed, wind_from_direction, air_temperature, relative_humidity, dew_point_temperature, air_pressure, mass_concentration_of_chlorophyll_in_sea_water (5m), sea_water_electrical_conductivity (5m), downwelling_photosynthetic_photon_flux_in_sea_water (5m), sea_water_temperature (5m), sea_water_practical_salinity (5m) | Note: The 5 m SBE 37 CTD (Conductivity, temperature, pressure and salinity) is not currently reporting for this mooring. It stopped reporting data after a storm on November 11, 2019. It is not clear why. Surface buoy MET and PAR variables stopped reporting meaningful values after a storm Dec 9.. Will work on WMO assignemens in 2020.
AOOS | urn:ioos:station:org.gulfwatchalaska:GAK1 |  | Oceanographic Station GAK1 | Longterm non-realtime physcial parameters mooring since 1998; Resurrection Bay, Seward | 59.845 | -149.4667 | moored_buoy | 1905-06-20 | Y | UAF, Exxon Valdez Oil Spill Trustees Council, and multiple entities over the years (NSF NE Pacific GLOBEC, NPRB) | N | UAF_COFS | Academic | UAF COFS | UAF, AOOS | NOT REAL TIME: sea_water_temperature (30 m, 60 m, 100 m, 150 m, 200 m, 250 m), sea_water_electrical_conductivity (30 m, 60 m, 100 m, 150 m, 200 m, 250 m), sea_water_salinity (30 m, 60 m, 100 m, 150 m, 200 m, 250 m) | Subsurface mooring collecting CTD paramaters; http://www.ims.uaf.edu/gak1/; http://www.gulfwatchalaska.org/monitoring/environmental-drivers/gulf-of-alaska-mooring-gak1-monitoring/
AOOS | urn:ioos:station:gov.noaa.pmel:GAK_Seward |  | GAKOA-Gulf of Alaska Ocean Acidification Mooring | Resurrection Bay, Seward, Real-time OA parameters | 59.85 | -149.5 | moored_buoy | 2011-05-19 | Y | AOOS, NOAA | Yp | NOAA_PMEL | gov_federal | NOAA PMEL, UAF_OARC | NOAA | dissolved_carbon_dixoide_ppm, partial_pressure_of_carbon_dioxide_in_sea_water, sea_water_pH, sea_water_temperature, sea_water_salinity, barometric_pressure
AOOS | urn:ioos:station:gov.noaa.pmel:m2 |  | Ocean Acidification Mooring M2 | Bering Sea, Real-time OA parameters | 56.87 | -164.06 | moored_buoy | 1905-07-03 | Y | AOOS, NOAA | Yp | NOAA_PMEL | gov_federal | NOAA, PMEL, UAF_OARC | NOAA | dissolved_carbon_dixoide_ppm, partial_pressure_of_carbon_dioxide_in_sea_water , sea_water_pH, sea_water_temperature, sea_water_salinity, barometric_pressure
AOOS | urn:ioos:station:org.mxak:AKUTAN_WX |  | Akutan, Port | WEATHER (no AIS); AIS LOCATED AT DIFFERENT SPOT | 54.1321 | -165.7818 | Fixed | 2017-06-14 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:ANCHORAGE_PORT |  | Anchorage Port | AIS TRANSCEIVER WITH WEATHER | 61.2387 | -149.8888 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | or_mxak_bethel |  | Bethel | Weather (not sure if there is AIS there) | 60.7915 | -161.7487 | Fixed | 2019-12-28 | Y | AOOS | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | New in 2019 but AOOS not reporting until 2020
AOOS | urn:ioos:station:org.mxak:CAPE_DECISION | CDXA2 | Cape Decision | AIS STATION WITH WEATHER | 56.0015 | -134.136 | Fixed | 2015-05-05 | N | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Reported thru August 19, 2020
AOOS | urn:ioos:station:org.mxak:CAPTAINS_BAY |  | Captains Bay - Dutch Harbor | WEATHER (No AIS) | 53.8429 | -166.5832 | Fixed | 2018-12-12 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:CORDOVA_WX |  | Cordova | AIS TRANSCEIVER WITH WEATHER | 60.5424 | -145.766 | Fixed | 2017-07-26 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS
AOOS | urn:ioos:station:org.mxak:DEAD_HORSE |  | Deadhorse, Prudhoe Bay | AIS TRANSCEIVER WITH WEATHER | 70.2224 | -148.4193 | Fixed | 2015-10-01 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:DUTCH_HARBOR_APL |  | Dutch Harbor APL | WEATHER (NO AIS) | 53.8836 | -166.5313 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org_mxak_dutch_harbor_pilotst |  | Dutch Harbor PilotSta | Weather, not sure about AIS | 53.8891 | -166.5421 | Fixed | 2018-12-12 | Y | AOOS, MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | air_temperature, air_pressure, dew_point_temperature, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Not sure why this not on 2019 inventory, but we may not have started posting data until 2020. IT happens.
AOOS | urn:ioos:station:org.mxak:DUTCH_HARBOR_PORT_OFFICE |  | Dutch Harbor - Port Office | WEATHER (NO AIS) | 53.9027 | -166.5284 | Fixed | 2015-07-02 | Y | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:ELDRED_ROCK | ERXA2 | Eldred Rock | AIS STATION WITH WEATHER | 58.9713 | -135.2208 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:GAMBELL |  | Gambell, St. Lawrence Island | Weather and AIS eATON/Transceiver | 63.7769 | -171.7153 | Fixed | 2019-05-31 | Y | AOOS, MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | org_mxak_george_island |  | George Island | Weather and AIS | 58.2118 | -136.3813 | Fixed | 2019-12-22 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | New in late 2019. Not reporting on AOOS until 2020
AOOS | urn:ioos:station:org.mxak:GUARD_ISLAND | GIXA2 | Guard Island | WEATHER (NO AIS) | 55.4464 | -131.881 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:GUSTAVUS | GUXA2 | Gustavus Dock | AIS TRANSCEIVER WITH WEATHER | 58.4077 | -135.7263 | Fixed | 2014-09-19 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Need to check install date (2014) vs date AOOS started reporting (July 2017)
AOOS | urn:ioos:station:org.mxak:HAINES | HAXA2 | Haines Harbor | AIS TRANSCEIVER WITH WEATHER | 59.2341 | -135.4417 | Fixed | 2015-09-01 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:HOMER_SPIT | HMSA2 | Homer Spit (Homer Port) | AIS TRANSCEIVER WITH WEATHER | 59.6021 | -151.4174 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:ICY_BAY | ICYA2 | Icy Bay | AIS STATION WITH WEATHER | 59.9235 | -141.3586 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:JUNEAU_AML | JMLA2 | Juneau AML | AIS TRANSCEIVER WITH WEATHER | 58.2855 | -134.3899 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:JUNEAU_AJ_DOCK | AJXA2 | Juneau AJ Dock | Weather (no AIS) | 58.2872 | -134.398 | Fixed | 2017-07-26 | Y | City and Bororugh of Juneau | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:JUNEAU_ANG_DOCK |  | Juneau ANG Dock | Weather (no AIS) | 58.2907 | -134.394 | Fixed | 2017-07-26 | Y | City and Bororugh of Juneau | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:JUNEAU_LIBRARY | JLXA2 | Juneau Library | Weather (no AIS) | 58.2982 | -134.4045 | Fixed | 2017-07-26 | Y | City and Bororugh of Juneau | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:KAKTOVIK |  | Kaktovik | AIS STATION WITH WEATHER | 70.1276 | -143.6159 | Fixed | 2018-08-01 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | This stopped reporting in Feb 2020. Plans are to replace, but COVID resrictions in 2020.
AOOS | urn:ioos:station:org.mxak:KENAI |  | Kenai | AIS TRANSCEIVER WITH WEATHER | 60.5319 | -151.253 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:KETCHIKAN | KEXA2 | Ketichikan Harbor | Weather | 55.3516 | -131.6839 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:SALMON_LANDING | SLXA2 | Ketchikan, Salmon Landing | WEATHER (no AIS) | 55.3395 | -131.6442 | Fixed | 2017-07-28 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:KODIAK_GULL_ISLAND |  | Kodiak, Gull Island | WEATHER (NO AIS) | 57.7773 | -152.4252 | Fixed | 2016-05-24 | N | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:LITTLE_ISLAND | LIXA2 | Little Island | WEATHER (NO AIS) | 58.54 | -135.0471 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:MARMION_ISLAND | MRNA2 | Marmion Island | WEATHER (NO AIS) | 58.1984 | -134.2568 | Fixed | 2015-05-15 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:MARY_ISLAND | MRYA2 | Mary Island | AIS STATION WITH WEATHER | 55.0991 | -131.1821 | fixed | 2015-05-05 | Y | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:MENDENHALL_VALLEY | MVXA2 | Mendenhall Valley | AIS STATION WITH WEATHER | 58.3641 | -134.6059 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:MIDDLETON_ISLAND |  | Middleton Island | AIS TRANSCEIVER WITH WEATHER | 59.4377 | -146.3275 | Fixed | 2015-09-30 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS
AOOS | urn:ioos:station:org.mxak:MXAK_OFFICE | MXXA2 | MXAK Office | WEATHER (NO AIS) | 58.3014 | -134.4258 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:NAKED_ISLAND | NKXA2 | Naked Island | AIS ATon with WEATHER | 58.2553 | -134.945 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:NIKISKI |  | Nikiski | AIS STATION WITH WEATHER | 60.7397 | -151.3105 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:NIKOLSKI | NKLA2 | Nikolski White Alice | AIS STATION WITH WEATHER | 52.9721 | -168.8554 | Fixed | 2015-05-05 | Y | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:NOME |  | Nome, Port Breakwater | WEATHER (no AIS); AIS AT DIFFERENT NOME LOCALE | 64.494 | -165.44 | Fixed | 2017-07-26 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:POINT_GARDNER | PGXA2 | Point Gardner | WEATHER (no AIS) | 57.0155 | -134.6183 | Fixed | 2017-05-22 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:PORTLAND_ISLAND | PTLA2 | Portland Island | WEATHER (NO AIS) | 58.3464 | -134.7523 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | urn:ioos:station:org.mxak:POINT_ARDEN | PAXA2 | Point Arden, AK | Weather, not sure about AIS | 58.1953 | -134.178 | Fixed | 2018-12-12 | Y | Marine Exchange of Alaska | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC | air_temperature, air_pressure, relative_humidity, wind_speed, wind_from_direction, battery_voltage | Found it on AOOS portal, reporting since 2018, was offline a bit in early 2019, but reporting otherwise.
AOOS | urn:ioos:station:org.mxak:ROCKY_ISLAND | RIXA2 | Rocky Island | WEATHER (NO AIS) | 58.1771 | -135.0515 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:SAVOONGA |  | Savoonga, St. Lawrence Island | Weather and AIS eATON/Transceiver | 63.6926 | -170.4922 | Fixed | 2019-05-31 | Y | AOOS, MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Stations with Transceivers can transmit weather obs real time to mariners, bypassing the need for internet service. MXAK is upgrading many stations to include ATONs for this purpose, when they install weather sensors.
AOOS | urn:ioos:station:org.mxak:SCULL_ISLAND | SCXA2 | Scull Island | WEATHER (NO AIS) | 58.2047 | -134.6458 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:SEWARD_HARBOR |  | Seward Harbor | AIS TRANSCEIVER WITH WEATHER | 60.1156 | -149.4342 | Fixed | 2016-06-06 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org_mxak_ship_island |  | Ship Island | Weather and AIS | 53.5989 | -132.2032 | Fixed | 2019-12-22 | Y | AOOS, MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | air_temperature, air_pressure, dew_point_temperature, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Installed in 2019, but was not hosting data until late in 2019 after the AI was submitted with the semi-annual report
AOOS | urn:ioos:station:org.mxak:SITKA_AML | STXA2 | Sitka AML | AIS TRANSCEIVER WITH WEATHER | 57.1163 | -135.3907 | Fixed | 2016-04-08 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:SITKA_HARBOR | SHXA2 | Sitka Harbor | AIS STATION WITH WEATHER | 57.0555 | -135.3494 | Fixed | 2016-04-27 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:SKAGWAY_WX | SKXA2 | Skagway Port | Weather (no AIS) | 59.4484 | -135.3264 | Fixed | 2016-02-02 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | need to cross check station
AOOS | urn:ioos:station:org.mxak:Tenakee_Springs | TKEA2 | Tenakee Springs | AIS STATION WITH WEATHER | 57.7792 | -135.2192 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | NDBC, AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Note: On NDBC Site, this is not referred to as a CMAN. Go to: https://www.ndbc.noaa.gov/to_station.shtml
AOOS | org_mxak_tree_point |  | Tree Point | Weather and AIS eATON/Transceiver | 54.8026 | -130.9344 | Fixed | 2019-12-22 | Y | MXAK | Yp | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) |  | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | New in late 2019. Not reporting until after AOOS submitted 2019 AI
AOOS | urn:ioos:station:org.mxak:BARROW |  | Utqiagvik (Barrow) | AIS TRANSCEIVER WITH WEATHER | 71.3149 | -156.7218 | Fixed | 2015-05-05 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:VALDEZ |  | Valdez Port | AIS TRANSCEIVER with Weather | 61.1271 | -146.3439 | Fixed | 2017-07-26 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS
AOOS | urn:ioos:station:org.mxak:WAINWRIGHT |  | Wainwright | AIS STATION WITH WEATHER | 70.6363 | -160.0337 | Fixed | 2018-08-01 | Y | AOOS | Yf | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:WALES |  | Wales | AIS TRANSCEIVER WITH WEATHER | 65.605 | -168.0864 | Fixed | 1/23/2009; 05/05/15 | Y | MXAK | N | Marine Exchange of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:org.mxak:WHITTIER_AMHS |  | Whittier, AMHS | AIS TRANSCEIVER WITH WEATHER | 60.7767 | -148.6823 | Fixed | 2017-05-09 | Y | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction
AOOS | urn:ioos:station:aoos:204 | 46108 | Lower Cook Inlet, AK CDIP Wave Buoy 204 | Year-round real-time water level buoy near Homer, AK; Datawell Directional Buoy | 59.5973 | -151.8291 | wave_buoy | 2015-04-13 | Y | AOOS, CDIP (USACE) | YP | AOOS | nonprofit | AOOS, NERRS - Kachemak Bay, NOAA-Susitna Bay Lab | CDIP | sea_surface_wave_to_direction, sea_surface_wave_mean_period, sea_surface_wave_significant_height, sea_surface_dominant_wave_period, sea_water_temperature | KB: I changed from Yp to Yf… CJ DEC 2019 : Why? CDIP owns the buoy and provides the data support.
AOOS | urn:ioos:station:edu.ucsd.cdip:236 | 46264 | NREL Kodiak, AK CDIP Wave Buoy 236 | Year-round real-time water level offshoreport of Nome, AK; Datawell Directional wave and surface current buoy | 57.4794 | -151.6953 | wave_buoy | 2017-08-01 | Y | AOOS, CDIP (USACE), DOE National Renewable Energy Laboratory | Yp | AOOS | nonprofit | AOOS | CDIP | sea_surface_wave_significant_height, sea_water_temperature, sea_surface_dominant_wave_period, sea_surface_wave_to_direction, peak_wave_period, sea_surface_wave_mean_period. | AOOS will support thru Spring 2021. This buoy was not wholly paid for by AOOS…we cover shipping, OnM, and insurance….NREL provided the buoy and CDIP is managing the data. Buoy reports RT yearround. The data output on AOOS includes current in through October 19, 2019. THe buoy was changed out with only a waves Datawell III on Octobr 19. We can ingest current data for historical record from CDIP for this buoy dating back to Feb 2017. (surface current discontinued in 2019)
AOOS | urn:ioos:station:scripps-institution-of-oceano:241 | 46265 | Nome, AK CDIP Wave Buoy 241 | Seasonal real-time water level offshoreport of Nome, AK; Datawell Directional wave buoy | 64.4723 | -165.4743 | wave_buoy | 2018-07-16 | O (seasonal) | AOOS, CDIP (USACE), Port of Nome | Yp | AOOS | nonprofit | AOOS and Port of Nome | CDIP | sea_surface_wave_significant_height, sea_water_temperature, sea_surface_dominant_wave_period, sea_surface_wave_to_direction, sea_surface_wave_mean_period, | This buoy was not wholly paid for by AOOS…we cover shipping, OnM, and insurance….CDIP provided the buoy and manages the data. Buoy reports RT and is seasonal during iceout period. In 2020, the buoy deployed no longer had current (we changed buoys for one without currents). Unfortunately, this buoy was deployed late Aug 26, 2020 and leaked and was recovered a few days after it deployed on Sep 9, 2020. direction_of_sea_water_velocity (0.75m), sea_water_speed (0.75m) (surface current info discontinued in 2020)
AOOS | urn:ioos:station:com.alyeska:aly_base_hr |  | Alyeska Resort Base | Alyeska Ski Resort weather | 60.9694 | -149.0966 | Fixed | 2015-05-05 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2015 | air_temperature, relative_humidity, preciptation_increment | Cross checked and corrected
AOOS | urn:ioos:station:com.alyeska:maxsmtn |  | Alyeska Resort Max's Mountain | Alyeska Ski Resort weather | 60.9483 | -149.0871 | Fixed | 2015-05-05 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2018 | air_temperature, relative_humidity, wind_speed, wind_from_direction, wind_speed_of_gust | Cross checked and corrected
AOOS | urn:ioos:station:com.alyeska:aly_mid_hr |  | Alyeska Resort, Mid Mountain | Alyeska Ski Resort weather | 60.9724 | -149.0819 | Fixed | 2015-05-05 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2016 | air_temperature, relative_humidity, preciptation_increment, surface_snow_thickness | Cross checked and corrected
AOOS | urn:ioos:station:com.alyeska:summitsite |  | Alyeska Resort Summit | Alyeska Ski Resort weather | 60.9568 | -149.0611 | Fixed | 2015-05-05 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2019 | air_temperature, relative_humidity, solar_radiation, wind_speed, wind_from_direction, wind_speed_of_gust | Cross checked and corrected
AOOS | urn:ioos:station:com.alyeska:ALY_TOP_HR |  | Alyeska Resort, Top of Glacier Bowl Express | Alyeska Ski Resort weather | 60.9628 | -149.0707 | Fixed | 2015-05-05 | y | Alyeska Ski Resort | N | Alyeska Ski Resort | other | Alyeska Ski Resort | AOOS from 05/15/2017 | air_temperature, precipitation_increment, winds_speed, wind_from_direction, wind_speed_of_gust | cross checked and correctied. cf says preciptation_amount, "Amount" means mass per unit area. "Precipitation" in the earth's atmosphere means precipitation of water in all phases. Axiom is using the non-cf name 'precipitation_increment' to describe precipitation values reported as a rate of accumulation measured as length over time, e.g. 'mm/hr'. What we call 'precipitation (accumulation)' maps to the cf-name 'lwe_thickness_of_precipitation_amount' doesn't contain a time component, though we create something like that for each time-step or bin of values we show in the portal.
AOOS | urn:ioos:station:edu.oregonstate:burkolator |  | Alutiiq Pride Shellfish Hatchery Burke-o-Lator | ALUTIIQ PRIDE SHELLFISH HATCHERY, SEWARD AK | 60.0992 | -149.4428 | Fixed | 1905-07-05 | Y | IOOS OTT, BIA, AOOS, NOAA-OAP | Yp | Alutiiq Pride Shellfish Hatchery | Industry | Alutiiq Pride SH, Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:org.hakai:Sitka |  | Sitka Burke-o-Lator | Sitka Tribe of Alaska Burke-O-Lator | 57.0526 | -135.3456 | Fixed | 2017-06-27 | Y | BIA Climate Change Grant | Yp | Sitka Tribe of Alaska | Tribal | Sitka Tribe of Alaska, Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent | AOOS supports BoL OnM through Hakai and provided support to Sitka in 2018-19 directly. Not sure why DO is not included in the suite for Burkolators. Need to look into this. | New
AOOS | org_hakai_quadra |  | Hyacinthe Bay, BC Buke-o-Lator | Hyancinthe Bay in British Columbia, operated by Hakai Inst. | 50.116 | -125.222 | Fixed | 2018-06-30 | Y | Hakai Institute, Tula Foundation | N | Hakai Institute | nonprofit, Research | Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent | AOOS now hosts Hakai BC (Canada) real time OA data from this location
AOOS | urn:ioos:station:gov.noaa.water:BETA2 | BETA2 | Kuskokwim River at Bethel | Bethel Brown Slough Bridge | 60.7933 | -161.7456 | Fixed | 2015-05-15 | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | NOAA Alaska-Pacific River Forecast Center (APRFC) | height, water_surface_height_above_reference_datum | Data processed and accessed thru NOAA Water Resources Regions, National Weather Service; https://water.weather.gov/ahps2/hydrograph.php?gage=BETA2&wfo=pafc2
AOOS | kotzebue-alaska-water-level |  | Kotzebue: NOTE - was to replace KZTA2. Both ran and stopped operating in 2020. | Kotzebue (https://portal.aoos.org/#metadata/100053/station/data) | 66.895 | -162.5668 | Fixed | 2018-09-05 | O | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | NOAA Alaska-Pacific River Forecast Center (APRFC) | height, water_surface_height_above_reference_datum | Data processed and accessed thru NOAA Water Resources Regions, National Weather Service; However, Data Web site is DGGS for AK | Stopped reporting in February 2020; I am told this Kotzebue stations i essentially the same station as KZTA2. The yellow one is a redeployed version that reported in 2020…but has not been properly assigned the CMAN with River forecast office. Duplicate station pages resolved in 2020.
AOOS | urn:ioos:station:gov.noaa.water:KZTA2 | KZTA2 | Kotzebue Sound at Kotzebue | Stevens Way Bridge (https://portal.aoos.org/#metadata/56411/station/data) | 66.9268 | -162.6351 | Fixed | 2015-09-22 | O | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | NOAA Alaska-Pacific River Forecast Center (APRFC) | height, water_surface_height_above_reference_datum | Data processed and accessed thru NOAA Water Resources Regions, National Weather Service | Stopped reportng July 2020.
AOOS | urn:ioos:station:gov.noaa.water:TNUA2 | TNUA2 | Tununak | Airstrip Road Bridge | 60.5707 | -165.2379 | Fixed |  | Y | AOOS, AKDNR | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | NOAA Alaska-Pacific River Forecast Center (APRFC) | height, water_surface_height_above_reference_datum | Data processed and accessed thru NOAA Water Resources Regions, National Weather Service
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1071 |  | Esther Island, SNOTEL STATION | SNOTEL station | 60.805 | -148.085 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount, surface_snow_thickness | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1073 |  | Mt Eyak, SNOTEL STATION | SNOTEL station | 60.555 | -145.745 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount, surface_snow_thickness, snow_water_equivalent | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1074 |  | Nuchek, SNOTEL STATION (on McNeil River) | SNOTEL station | 60.335 | -146.665 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1075 |  | Port San Juan, SNOTEL STATION | SNOTEL station | 60.055 | -148.065 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1076 |  | Tatitlek, SNOTEL STATION | SNOTEL station | 60.875 | -146.675 | Fixed | 2004-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1087 |  | Seal Island, SNOTEL STATION | SNOTEL station | 60.435 | -147.395 | Fixed | 2005-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount, relative_humidity | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1088 |  | Strawberry Reef, SNOTEL STATION | SNOTEL station | 60.235 | -144.865 | Fixed | 2005-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:gov.usda.nrcs.wcc.snotel:1095 |  | Sugarloaf Mtn, SNOTEL STATION | SNOTEL station | 61.085 | -146.295 | Fixed | 2006-10-01 | Y | AOOS, Oil Spill Recovery Institute (OSRI) | Yp | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | National Water and Climate Center (NRCS) | battery_voltage, air_temperature, solar_radiation, air_pressure, wind_speed, wind_speed_of_gust, wind_from_direction, lwe_thickness_of_precipitation_amount, surface_snow_thickness | Cross-checked and corrected to what we are reporting
AOOS | urn:ioos:station:org.inletkeeper:anchor-river |  | Cook Inletkeeper, Anchor River | Anchor River at the Old Sterling Highway Bridge in Anchor Point, Cook Inlet | 59.7724 | -151.8367 | Fixed | 2013-09-07 | Y | Cook Inletkeeper, Kenai Peninsula Fish Habitat Partnership, Western Native Trout Initiative; Installation support: Kenai Chapter of Trout Unlimited, BeadedStream LLC | N | Cook Inletkeeper | nonprofit | Cook Inletkeeper | Cook Inletkeeper | air_temperature, sea_water_temperature, panel_temperature, battery_voltage | Since 2002, Cook Inletkeeper has been collecting continuous water temperature data below the confluence of the North and South Forks.
AOOS | urn:ioos:station:org.inletkeeper:deshka-river |  | Cook Inletkeeper, Deshka River (Kroto Creek) | Deshka River (alias: Kroto Creek), Cook Inlet | 61.7675 | -150.3399 | Fixed | 2013-09-09 | Y | Cook Inletkeeper: Installation support from BeadedStream LLC, AK Fish and Game | N | Cook Inletkeeper | nonprofit | Cook Inletkeeper | Cook Inletkeeper | air_temperature, sea_water_temperature, panel_temperature, battery_voltage | Since 2008, Cook Inletkeeper has been collecting water temperature data on the lower Deshka River below the ADF&G weir.
AOOS | urn:ioos:station:org.inletkeeper:russian-river |  | Cook Inletkeeper, Russian River | Russian River, 3 miles upstream on the Russian River Falls Trail below the lower lake. | 60.453 | -149.9868 | Fixed | 2016-10-14 | Y | Cook Inletkeeper, Kenai Peninsula Fish Habitat Partnership | N | Cook Inletkeeper | nonprofit | Cook Inletkeeper | Cook Inletkeeper | air_temperature, sea_water_temperature, panel_temperature, battery_voltage | Since 2002, Cook Inletkeeper has been collecting continuous water temperature data in non-glacial streams across the Cook Inlet watershed, but not on Russian River.
AOOS | urn:ioos:station:com.micro-specialties-2:sn275 |  | Foggy Island Bay | Weather | 70.2041 | -147.7014 | Fixed shorebased | 2018-07-26 | N | BOEM | N | Univeristy of Alaska, Fairbanks | Academic | University of Alaska, Fairbanks | Axiom Data Science/AOOS (through contract with BOEM) | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | This is a project weather installation for a BOEM modeling study AOOS is part of. This station stopped operating in Jan 2020. No plan to reinstall at this point in time.
AOOS | foggy-island-stld2-2019-spot- |  | SPOT-0156: Foggy Island STLD2 2019 | Project wave mooring with weather (open water season only) for 2019 and 2020 | 70.319 | -147.7612 | Moored wave buoy | 2019-08-06 | U | BOEM | N | Univeristy of Alaska, Fairbanks | Academic | University of Alaska, Fairbanks | Axiom Data Science/AOOS (through contract with BOEM) | sea_surface_wave_significant_height, sea_surface_wave_from_direction, wind_speed, wind_from_direction, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, peak_wave_period, sea_surface_wave_mean_period, sea_surface_wave_directional_spread | Real-time while deployed reported on the AOOS Portal during 2019; short-term deployments during open water season. Project so no plan for permanent installation. Deployed in July 2020 for short deployment, ending August 12, 2020
AOOS | foggy-island-dinkum-2019-spot |  | SPOT-0107: Foggy Island Dinkum 2019 | Project wave mooring with weather (open water season only) for 2019 and 2020 | 70.3935 | -147.835 | Moored wave buoy | 2019-08-07 | U | BOEM | N | Univeristy of Alaska, Fairbanks | Academic | University of Alaska, Fairbanks | Axiom Data Science/AOOS (through contract with BOEM) | sea_surface_wave_significant_height, sea_surface_wave_from_direction, wind_speed, wind_from_direction, sea_surface_wave_directional_spread_at_variance_spectral_density_maximum, peak_wave_period, sea_surface_wave_mean_period, sea_surface_wave_directional_spread | Real-time while deployed reported on the AOOS Portal during 2019; short-term deployments during open water season. Project so no plan for permanent installation. Deployed in July 2020 for short deployment, ending August 11, 2020
AOOS | cape_st_elias |  | Cape St. Elias | Weather station on Copper Delta area | 59.7983 | -144.5999 | Fixed | 2014-12-03 | Y | Prince William Sound Regional Citizen's Advisory Council (PWSRCAC) | N | PWSRCAC | nonprofit | PWSRCAC, MicroSspecialties (private industry) | Not sure, but web site links to Microspecialties (http://denali.micro-specialties.com/CapeStElias/). | air_pressure, air_temperature, relataive_humdity, solar_irradiance, wind_speed_of_gust, wind_speed, wind_from_direction, battery_voltage
AOOS | valdez_marine_terminal_weathe |  | Valdez Marine Terminal Weather Buoy | Weather/waves/current buoy in the Port of Valdez area | 61.091 | -146.3766 | Moored Buoy | 2019-09-21 | Y | Prince William Sound Regional Citizen's Advisory Council (PWSRCAC) | N | PWSRCAC | nonprofit | PWSRCAC, PWSSC | PWSSC | air_pressure, sea_water_velocity_to_direction, sea_water_speed, eastward_sea_water_velocity, northward_sea_water_velocity, upward_sea_water_velocity, relative_humidity, solar_irradiance, sea_water_pressure, air_temperature, sea_water_temperature, sea_surface_wave_directional_spread, sea_surface_wave_period_at_variance_spectral_density_maximum, sea_surface_wave_from_direction, sea_surface_wave_maximum_height, sea_surface_wave_significant_height, wind_speed_of_gust, wind_speed, wind_from_direction, | Installed in 2019, but was not hosting data until 2020 after the AI was submitted with the semi-annual report
AOOS | valdez_duck_flats_weather_buo |  | Valdez Duck Flats Weather Buoy | Weather/waves/current buoy in the Port of Valdez area | 61.1225 | -146.2967 | Moored Buoy | 2019-09-21 | Y | Prince William Sound Regional Citizen's Advisory Council (PWSRCAC) | N | PWSRCAC | Non-Profit | PWSRCAC, PWSSC | PWSSC | air_pressure, sea_water_velocity_to_direction, sea_water_speed, eastward_sea_water_velocity, northward_sea_water_velocity, upward_sea_water_velocity, relative_humidity, solar_irradiance, sea_water_pressure, air_temperature, sea_water_temperature, sea_surface_wave_directional_spread, sea_surface_wave_period_at_variance_spectral_density_maximum, sea_surface_wave_from_direction, sea_surface_wave_maximum_height, sea_surface_wave_significant_height, wind_speed_of_gust, wind_speed, wind_from_direction, | Installed in 2019, but was not hosting data until 2020 after the AI was submitted with the semi-annual report
AOOS | nelson-lagoon-alaska-water-le |  | Nelson Lagoon | Nelson Lagoon, Alaska, Water Level (Tier C water level data) | 56.0041 | -161.1751 | Fixed | 2019-05-01 | Y | Native Village of Nelson | N | AK DNR | gov_state | Alaska Department of Natural Resources | Stillwater Technologies, Axiom Data Science | sea_surface_height_above_sea_level
AOOS | naknek-ak |  | Naknek | Naknek water level station (NWLON-lite Tier B) | 58.7321 | -156.9833 | Fixed | 2019-07-15 | Y | AOOS | Yf | JOA Surveys | Private | JOA Surveys | AOOS and JOA | sea_surface_height_above_sea_level | This station was a temporary CO-OPS installation for Datums…AOOS paid to have the stations made permanent and to harden station for winter. Data did NOT appear on the AOOS Data Portal until 2020, as we completed contract with JOA late in fall 2019 due to late award. No money, no data. Started on AOOS portal in 2020. To see all Tier B water level data stations on the AWLW Port, https://water-level-watch.portal.aoos.org/#search?type_group=sensor_stations&tag¦tag=tier-b&page=1
AOOS | homer-ramp-8 |  | Homer Ramp 8 | Homer Ramp 8 Water Level (Tier C) | 59.6055 | -151.4221 | Fixed | 2020-07-23 | Y | AOOS | Yp | AK DNR | gov_state | Alaska Department of Natural Resources | Stillwater Technologies, Axiom Data Science | sea_surface_height_above_sea_level | To see all the Tier C water level data stations in the AWLW Portal, https://water-level-watch.portal.aoos.org/#search?type_group=sensor_stations&tag¦tag=tier-c&page=1

## Not Reporting 2020
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
AOOS | urn:ioos:station:org.mxak:ADAK_PORT |  | Adak Port | WEATHER (no AIS) | 51.8694 | -176.6407 | Fixed | 2015-05-05 | N | AOOS | Yf | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | NOTE: KB, I was in a rush due to gov shutdown, so I still will be cross-checking that ALL MXAK stations report ou same variables. Our SNOTELS vary, so I feel the need to check this against each station. Also note, not all MXAK stations are bein used by NDBC. I list the ones they use here.
AOOS | urn:ioos:station:org.mxak:FIVE_FINGER_LIGHT |  | Five Finger Light | AIS TRANSCEIVER WITH WEATHER | 57.2702 | -133.6316 | Fixed | 2015-07-02 | N | MXAK | N | Marine Exchnge of Alaska | nonprofit | MXAK (Marine Exchange of Alaska) | AOOS | dew_point_temperaure, air_temperature, air_pressure, relative_humidity, wind_speed_of_gust, wind_gust_from_direction, wind_speed, wind_from_direction | Stops in Oct 2017
AOOS | urn:ioos:station:edu.uaf.ims:300234062655380 | 4801730 | Ice Freeze-up Detection Buoy | Hannah Shoal ice detect, partial Real-Time Sensor | 71.6055 | -161.4589 | moored_buoy | 2015-09-06 | O | IOOS, AOOS, NWS | Yp | UAF_COFS | Academic | UAF | AOOS | sea_water_temperature (1m, 8m,20m,30m,40m), sea_water_electrical_conductivity (8m,20m,30m,40m), air_temperature | SBE 37s at 1,8,20,30,40 m depths The data from the ice detection buoy is on the GTS under WMO ID 4801730 as of 09/22/2017. Not deployed in 2019 or 2020 | Pending future deployments, so keeping it in the loop
AOOS | urn:ioos:station:aoos:astrawl_seward |  | ASTRA GPS Water Level, | ASTRA GPS Receiver located near the Alaska Sea Life Center and the UAF pier (two separate locations, though nearby) | 60.0994 (ASLC), 60.0983 (UAF) | -149.4391 (ASLC), ' -149.2420 (UAF) | fixed | 4/4/2017 - 07/11/20018 | N | AOOS, NWS | YP | AOOS | nonprofit | ASTRA LLC for AOOS | AOOS and ASTRA | sea_surface_height_above_sea_level (Water Level MLLW) | removed in June 2018 | preparing to deploy in Utqiagvik in 2021.
AOOS | coal-point-homer-ak-tide-stat | 9455558 | Coal Point Homer, AK | This work is funded by NOAA's Office of Coastal Management. The work is being done to meet objectives for the AK DNR Division of Geological & Geophysical Surveys. As of 2019-04-04, this station was taken down and the equipment was removed. | 59.6026 | -151.4103 | Fixed | 08/25/2018 - 04/04/2019 | N | NOAA OCM | N | JOA Surveys, LLC | private | JOA Surveys, LLC | JOA Surveys, LLC and AOOS | sea_surface_height_above_sea_level | Was installed August 2018 and removed in April 2019. This was a temporary Tide station funded by CO-OPS and there are no plans to redeploy. First time reported in AOOS in 2019.
AOOS | urn:ioos:station:org.oceanalaska:ketchikan |  | Ketchikan Harbor Oceans AK Burkolator | Ketchikan Harbor, Oceans Alaska Facility Burkolator | 55.3156 | -131.5938 | Fixed | 8/29/2016; 09/12/18 | O | IOOS OTT, NOAA-OAP, UAF-OARC | YP | Hakai Institute | nonprofit | Hakai Institute | IPACOA | dissolved_carbon_dioxide_co2, pco2, omega_aragonite, sea_water_temperature, sea_water_practical_salinity, sea_water_ph_reported_on_total_scale, sea_water_alkalinity_expressed_as_mole_equivalent |  | Hoping this comes online in 2021
AOOS | Pending |  | Kwigillingok |  |  |  | Fixed | 2019 |  | AOOS, AKDNR | Yp | AK DNR, JOA Surveys LLC | gov_state | Alaska Department of Natural Resources | AK DNR and JOA at the moment | water level + | iGage failed and not operating at the moment | Covid delay
AOOS | Pending |  | Tununek |  |  |  | Fixed | 2019 | Y | AOOS, AKDNR | Y | AK DNR, JOA Surveys LLC | gov_state | Alaska Department of Natural Resources | AK DNR and JOA at the moment | water level + | not yet reporting data to portal | Covid delay

## Tows and surveys
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
AOOS | Seward Line |  | Seward Line Data, CTD | Shiboard CTD surveys, sampled twice per year since 2006, but data exist before 2006. | 59.845 to 58.098334 | lon -149.46667 to - 147.01 | Ship | 1997-10-10 | Y | AOOS, Exxon Valdez Oil Spill Trustees Council (EVOSTC) | Yp | UAF_CFOS | Academic | UAF_CFOS | AOOS | water column parameters (multi-depth): sea_water_pressure, sea_water_electrical_conductivity, sea_water_temperature, chlorophyll_fluorescence, beam transmission, PAR/Irradiance, dissolved_oxygen, altimeter, sea_water_density (variables), sea_water_practical_salnity | so far, AOOS serves data from 2012-2016 and is ongoing; there are also zoo and phyto plankton data for these
AOOS | Seward Line OA Sampling |  | Seward Line Data, Ocean Acidification Sampling | 10 year OA sampling, shipboard sampling twice per year, 2008-2017 | 59.845 to 58.098333 | lon -149.46667 to - 147.00 | Ship | 1905-06-30 | Y | AOOS | Yf | UAF_OARC | Academic | UAF_OARC | AOOS, NOAA PMEL | water column parameters (muulti-depth): partial_pressure_of_carbon_dioxide_in_sea_water, Aragonite Saturation, sea_water_temperature, sea_water_salinity, sea_water_dissolved_oxygen, sea_water_alkalinity_expressed_as_mole_equivalent (total _lkalinity), sea_water_ pH | Not sure ontology for PAR, Beam Transimission (KB: Don't worry about it).
AOOS |  |  | Prince William Sound, CTD Surveys | EVOSTC Gulf Watch, Prince William Sound Science Center | 59.975407 to 61.26107 | lon -148.51602 to -145.94562 | Ship | 2009 | Y | Exxon Valdez Oil Spill Trustees Council (EVOSTC), Gulf Watch Program | N | PWSSC | nonprofit | PWSSC-Prince William Sound Science Center | AOOS as part of EVOSTC GWA and HRM | water column parameters (multi-depth): sea_water_temperature, sea_water_electrcial_conductivity, sea_water_practical_salinity, sea_water_density, sea_water_pressure, water_depth, nitrate, phosphate, Chlorophyll_a, silicate, zooplankton | Data in AOOS 03/2013-*; Oceanographic conditions in Prince William Sound
AOOS |  |  | Prince William Sound, Conitinuous Plankton Recordrer (CPR) | EVOSTC Gulf Watch, with SAHFOS | 59.975407 to 61.26108 | lon -148.51602 to -145.94563 | towed_underwater_vehicle | 2000 | Y | Exxon Valdez Oil Spill Trustees Council (EVOSTC), NPRB, Canada DFO, Sir Alister Hardy Foundation for Ocean Sciences | N | Sir Alister Hardy Foundation for Ocean Sciences, Sonia Batten, soba@sahfos.ac.uk | Academic | Sonia Batten, soba@sahfos.ac.uk | AOOS as part of EVOSTC GWA and HRM | water column parameters (multi-depth): sea_water_temperature, plankton (for full taxonomic information refer to WoRMS (World Register of Marine Species): http://www.marinespecies.org/) | Continuous Plankton Recorders aret towed vehicles
AOOS |  |  | Alaska OA FERRY | Continuous monitoring between Bellingham, WA to Skagway, AK (a round trip of 1,854 miles per week) | 48.7215 to 59.4498 | lon -122.5127 to -135.3244 |  | 2017-11-01 | Y | The Hakai Institute, AOOS, Alaska Coastal Rainforest Center at the University of Alaska Southeast, the Alaska Department of Transportation and Public Facilities | Yp | The Hakai Inst and JIASO/PMEL | Research | Hakai Inst, Wiley Evans | Hakai Inst. | sea_water_temperature, sea_water_salinity, sea_water_dissolved_oxygen, partial_pressure_of_carbon_dioxide_in_sea_water | THIS WAS MISSING FROM THE LIST IN 2017 and 2018 b/c it is not reporting data realtime. AOOS expects a data release in 2020. https://aoos.org/alaska-ocean-acidification-network/ferry/
AOOS | Seward Line - Continued Subsampled OA for mooring QC, inter-labaraotry comparisons and Seward Line anchor OA stations. |  |  | Shiboard CTD surveys, sampled twice to three times per year. | 59.845 to 58.098333 | lon -149.46667 to - 147.00 | Ship | 2018-07-01 | Y | AOOS | Yf | University of Alaska, CFOS, Fairbanks | Academic | UAF-CFOS | AOOS | OA variables from water samples collected and analyzed by both OARC and Burke Hales at OSU (2018), then by Claudine Hauri Lab in 2019-20. Water samples will be compared to check for data quality comparisons.
Something Newly added to spreadsheet

## Definitions
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
RA name | (Optional) Any unique digital or alphanumeric identifier assigned by the RA or affiliate (e.g. CDIP) to distinguish the station. (e.g. 204; GAK Seward, SUN2, NH-10, etc). Does NOT include the WMO ID or CMAN ID (see next column). Leave blank if none. | (Required) The World Meteorological Organization 5-digit station identifier (WMO ID) is assigned to ocean platforms (drifting buoys, moored buoys, ocean reference sites, and profiling floats). e.g. 48088. The National Weather Service 5-digit alphanumerical identifier (e.g. the National Data Buoy Center CMAN ID) is assigned to shore-based stations. (e.g. HBYC1). For special cases where an ID is not assigned, put N/A and briefly indicate why in the notes. | (Required) Station name. e.g. Red Bank - Garden Banks, Fripps Inlet, etc. | (Optional) Anything descriptive about the station. This is a freeform field. | (Required) | (Required) | (Required) A structure or vehicle designed to hold one or more sensors such that the intended oceanographic or atmospheric variable(s) can be monitored or measured in a manner designed for the ocean observing system or scientific hypotheses. Use terms listed in the IOOS Platform Vocabulary: http://mmisw.org/ont/ioos/platform (e.g. buoy, profiling buoy, moored buoy, wave buoy, fixed, offshore tower, profile) | (Required) The time when the station became operational. This can be determined by the first data record or an installation date. This indicates the first time the station was deployed - not the last or latest, but the first time - even if IOOS was not established yet. Accepted responses: Please provide a month and year (mm/yyyy). If the actual deployment date is not known then provide a year (yyyy), or "< 5 yr" (any date on/after 1/1/2013) or "> 5 yr" (any date on/before 12/31/2012) . If not available, please indicate why in the notes column. | (Required) Is the asset deployed and collecting data? Y = Yes (this includes seasonal buoys intended for redeployment). N = No (it was uninstalled/removed, or is offline with no intent to repair). O = Offline (temporary outage, with intent to repair or redeploy). U = Unknown (e.g. funding uncertainty for repair/redeployment, or operator's plans are unknown). If O or U, please indicate why in the notes column. | (Optional) A person, group, or organization’s full or partial support of the asset. (e.g. AOOS, USACE). Does not include support for data management activities. Multiple groups may be listed. | (Required) Does the RA currently fund the asset? This excludes support for data management activities. Yf = Fully funds. Yp = Partially funds. N = No funding. | (Required) IOOS Vocabulary definition: "Platform operator used as classifier or contact type; will often be the platform owner as well..." Akin to the Creator_name attribute in netCDF: "The person/organization that (primarily) collects the data." In general, the person/group/institution principally responsible for operating the station. Note that most of the time this is also the group that maintains the asset. | (Required) Use the IOOS Organization Societal Sector Vocabulary. (Academic, industry, tribal, nonprofit, gov_state, gov_federal, etc). Underscores required. http://mmisw.org/ont/ioos/sector | (Optional) The organization with the primary responsibility for providing the maintenance of the platorm/sensors today (e.g. University of Wisconsin-Milwaukee). In most cases this will be the same as the platform operator. This is the group that conducts maintenance activities - this does not include the group that funds the maintenance (that group should fall under Platform Funder/Sponsor). | (Optional) The organization that is responsible for the data management activities. This does not mean the organization that funds the data management. | (Required) A list of observed variables that are associated with each station, with the depth(s) of the each measured oceanographic variable in parentheses following the variable name. 'Depths' not required for meteorological variables. If the variable is ONLY measured at the surface and no other dpeth, you do not need to include any parentheses/depth - just state the variable name. Use CF names (http://cfconventions.org/Data/cf-standard-names/47/build/cf-standard-name-table.html), and if the variable is not available in CF then use the IOOS parameter vocabulary (http://mmisw.org/ont/ioos/parameter). Accepted responses: sea_water_temperature (1 m, 10 m, 40 m), or sea_water_temperature (sfc, 10 m, 40 m), or sea_water_temperature (sfc and 2 depths), or mass_concentration_of_chlorophyll_in_sea_water. The latter means chlorophyll is measured only at the surface. Please provide all variables for the asset in a single cell in the spreadsheet (do not separate by row). | (Optional) Any additional information that does not fit in the template that you think is relevant, or provides context.