## CeNCOOS ASSETS
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
CeNCOOS | Morro Bay | MBXC1 | Morro Bay | Morro Bay: T-Pier | 35.37 | -120.86 | fixed | 2007 | Y | Cal Poly/CeNCOOS | Yp | Cal Poly | Academic | Cal Poly | Cal Poly | sea_water_turbidity(2m), sea_water_temperature(2m), sea_water_pressure(2m), sea_water_practical_salinity(2m), mass_concentration_of_oxygen_in_sea_water(2m), mass_concentration_of_chlorophyll_in_sea_water(2m), wind_speed(-5.5m), wind_from_direction(-5.5m), air_temperature(-5.5m), air_pressure(-5.5m), relative_humidity(-5.5m), lwe_thickness_of_precipitation_amount(-5.5m), solar_radiation(-5.5m), visibility_in_air(-5.5m) | Met Station located at 35.3338 N, 120.847 W
CeNCOOS | Morro Back Bay (BS1) |  | Morro Back Bay | Morro Back Bay; OA Station | 35.3333 | -120.8463 | fixed | 2015 | Y | Cal Poly/CeNCOOS | Yp | Cal Poly | Academic | Cal Poly | Cal Poly | surface_air_pressure(sfc), wind_speed, wind_from_direction, air_temperature, relative_humidity, precipitation_amount, net_downward_shortwave_flux_in_air, sea_water_temperature(sfc), sea_water_practical_salinity(sfc), sea_water_pressure(sfc), mass_concentration_of_chlorophyll_in_sea_water(sfc), mass_concentration_of_oxygen_in_sea_water(sfc) | Met station and YSI sensor co-located.
CeNCOOS | San Luis Pier | CPXC1 | San Luis Bay | San Luis Bay: Cal Poly Pier | 35.17 | -122.89 | fixed | 2005 | Y | Cal Poly/CeNCOOS | Yp | Cal Poly | Academic | Cal Poly | Cal Poly | sea_water_temperature(1m,1.5m,2m,2.5m,3m,3.5m,4m,4.5m,6m,6.5m,7m,7.5m,8m,8.5m,9m), sea_water_pressure, sea_water_practical_salinity(1m,1.5m,2m,2.5m,3m,3.5m,4m,4.5m,6m,6.5m,7m,7.5m,8m,8.5m,9m), mass_concentration_of_chlorophyll_in_sea_water(1m,1.5m,2m,2.5m,3m,3.5m,4m,4.5m,6m,6.5m,7m,7.5m,8m,8.5m,9m), sea_water_turbidity(1m,1.5m,2m,2.5m,3m,3.5m,4m,4.5m,6m,6.5m,7m,7.5m,8m,8.5m,9m), bioluminescence(1m,1.5m,2m,2.5m,3m,3.5m,4m,4.5m,6m,6.5m,7m,7.5m,8m,8.5m,9m), wind_speed(-15.5m), wind_from_direction(-15.5m), air_temperature(-15.5m), air_pressure(-15.5m), relative_humidity(-15.5m), lwe_thickness_of_precipitation_amount(-15.5m), solar_radiation(-15.5m), visibility_in_air(-15.5m)
CeNCOOS | Exploratorium |  | Exploratorium | Exploratorium | 37.8 | -122.397 | fixed | 2009 | Y | Exploratorium | N | Exploratorium | nonprofit | Exploratorium | Exploritorium | sea_water_temperature, sea_water_practical_salinity, sea_water_pressure, mass_concentration_of_oxygen_in_sea_water, mass_concentration_of_chlorophyll_in_sea_water, sea_water_turbidity, sea_water_ph_measured_on_total_scale, dissolved_carbon_dioxide, air_temperature, air_pressure, relative_humidity, wind_speed, wind_from_direction, diffuse_downwelling_shortwave_flux_in_air
CeNCOOS | Trinidad | TDPC1 | Trinidad Pier | Trinidad shore station: HABs station | 41.06 | -124.15 | fixed | 2008 | Y | HSU/CENCOOS | Yp | HSU | Academic | HSU | HSU/CeNCOOS | sea_water_temperature(4.6m), sea_water_salinity(4.6m), mass_concentration_of_oxygen_in_sea_water(4.6m), sea_water_ph_measured_on_total_scale(4.6m), mass_concentration_of_chlorophyll_in_sea_water(4.6), sea_water_turbidity, sea_water_pressure(4.6m)
CeNCOOS | Humboldt | HBXC1(old site ERKC1) | Humboldt Bay: Chevron Dock | Chevron Dock Pier Station | 40.78 | -124.2 | fixed | 1905 | Y | HSU/CeNCOOS | Yp | HSU | Academic | HSU | HSU/CeNCOOS | sea_water_temperature(2m), sea_water_salinity(2m), mass_concentration_of_oxygen_in_sea_water(2m), sea_water_ph_measured_on_total_scale(2m), mass_concentration_of_chlorophyll_in_sea_water(2m), sea_water_turbidity(2m), sea_water_pressure(2m)
CeNCOOS | Indian Island |  | Humboldt Bay: Indian Ilsand | Indian Island station | 40.81 | -124.15 | fixed | 1905 | Y | HSU/CENCOOS | Yp | HSU | Tribal | HSU | Wiyot/HSU/CeNCOOS | sea_water_temperature(2.4m), sea_water_practical_salinity(2.4m), mass_concentration_of_oxygen_in_sea_water(2.4m), sea_water_ph_measured_on_total_scale(2.4m), mass_concentration_of_chlorophyll_in_sea_water(2.4m), sea_water_turbidity(2.4m), sea_water_pressure(2.4m)
CeNCOOS | Humboldt Bay AC/DC |  | Humboldt Bay Burkolator | Burkolator at Hog Island Oyster Company Hatchery | 40.7915 | -124.1943 | fixed | 2018 | O | IOOS OTTP /NOAA OAP | Yp | HSU | Academic/Industry | HSU | HSU/CeNCOOS | sea_water_temperature(sfc), sea_water_practical_salinity(sfc), mole_concentration_of_aragonite_expressed_as_carbon_in_sea_water(sfc), partial_pressure_of_carbon_dioxide_in_sea_water(sfc), sea_water_ph_reported_on_total_scale(sfc), sea_water_alkalinity_express_as_mole_equivalent(sfc), surface_partical_pressure_of_carbon_dioxide_in_air(sfc)
CeNCOOS | Monterey Bay Aquarium |  | Monterey Bay Aquarium | Monterey Bay Aquarium Seawater Intake | 36.618 | -121.9015 | fixed | 1905 | Y | MBA | N | MBA | nonprofit | MBA | MBA | sea_water_temperature(16.8m), sea_water_practical_salinity(16.8m), sea_water_ph_measured_on_total_scale(16.8m), fractional_saturation_of_oxygen_in_sea_water(16.8m)
CeNCOOS | M1 | 46092 | M1 | M1 | 36.758 | -122.029 | moored_buoy | 1905 | Y | MBARI | N | MBARI | nonprofit | MBARI | MBARI | sea_water_temperature(1m,10m,20m,40m,60m,80m,100m,150m,200m,250m,,300m), sea_water_practical_salinity(1m,10m,20m,40m,60m,80m,100m,150m,200m,250m,300m),sea_water_ph_measured_on_total_scale(1m), mass_concentration_of_chlorophyll_in_sea_water(1m), partial_pressure_of_carbon_dioxide_in_sea_water(1m), mass_concentration_of_oxygen_in_sea_water(1m,50m,225m), wind_speed(-2m), wind_from_direction(-2m), air_temperature(-2m), air_pressure(-2m), relative_humidity(-2m), diffuse_downwelling_shorewave_flux_in_air(-2m), downwelling_longwave_flux_in_air(-2m)
CeNCOOS | OA1 |  | Hopkins Marine Station | OA1 buoy | 36.9725 | -122.1569 | moored_buoy | 2013 | Y | MBARI | N | MBARI | nonprofit | MBARI | MBARI | wind_speed(-1m),wind_from_direction(-1m),air_temperature(-1m),relative_humidity(-1m),air_pressure(-1m),sea_water_temperature(sfc),sea_water_practical_salinity(sfc),mass_concentration_of_oxygen_in_sea_water(sfc),sea_water_ph_measured_on_total_scale(sfc),dissolved_carbon_dioxide(sfc).
CeNCOOS | OA2 |  | Terrace Point | OA2 buoy | 37.109 | -122.346 | moored_buoy | 2013 | Y | MBARI | N | MBARI | nonprofit | MBARI | MBARI | wind_speed(-1m),wind_from_direction(-1m),air_temperature(-1m),relative_humidity(-1m),air_pressure(-1m),sea_water_temperature(sfc),sea_water_practical_salinity(sfc),mass_concentration_of_oxygen_in_sea_water(sfc),sea_water_ph_measured_on_total_scale(sfc),dissolved_carbon_dioxide(sfc).
CeNCOOS | LO1 |  | Elkhorn Slough | LOBO | 36.81 | -121.77 | moored_buoy | 2003 | Y | MBARI | N | MBARI | nonprofit | MBARI | MBARI | sea_water_temperature(sfc), sea_water_practical_salinity(sfc), mass_concentration_of_oxygen_in_sea_water(sfc), eastward_sea_water_velocity(sfc), northward_sea_water_velocity(sfc), solar_radiation(1m)
CeNCOOS | Carquinez | CQU1 | Carquinez | Carquinez at Cal Maritime | 38.07 | -122.23 | fixed | 2008 | Y | SFSU/CeNCOOS | Yp | SFSU | Academic | SFSU | SFSU | sea_water_temperature(2.7m), sea_water_practical_salinity(2.7m), mass_concentration_of_oxygen_in_sea_water(2.7m), sea_water_ph_measured_on_total_scale(2.7m), mass_concentration_of_chlorophyll_in_sea_water(2.7m), sea_water_turbidity(2.7m), sea_water_pressure(2.7m)
CeNCOOS | Tiburon | TIBC1 | Tiburon | Tiburon Pier | 37.89 | -122.45 | fixed | 2002 | Y | SFSU/CeNCOOS | Yp | SFSU | Academic | SFSU | SFSU | sea_water_temperature(1.9m), sea_water_practical_salinity(1.9m), mass_concentration_of_oxygen_in_sea_water(1.9m), sea_water_ph_measured_on_total_scale(1.9m), mass_concentration_of_chlorophyll_in_sea_water(1.9m), sea_water_turbidity(1.9m), sea_water_pressure(1.9m)
CeNCOOS | BOB and MARI |  | Bay Ocean Buoy | BOB and MARI | 36.8686 | -122.378 | moored_buoy | 2018 | Y | SFSU | Yp | SFSU | academic | SFSU | SFSU | sea_water_temperature(sfc,17.5m), sea_water_practical_salinity(sfc,17.5m), sea_water_ph_measured_on_total_scale(sfc,17.5m), dissolved_carbon_dioxide(sfc), mass_concentration_of_oxygen_in_sea_water(17.5m)
CeNCOOS | Monterey Wharf | MYXC1 | Monterey Wharf | Monterey: Municipal Wharf II | 36.61 | -121.89 | fixed | 2015 | Y | SJSU (MLML) | Yp | SJSU (MLML) | Academic | SJSU (MLML) | SJSU (MLML) | sea_water_temperature(2m), sea_water_practical_salinity, sea_water_pressure(2m), sea_water_ph_measured_on_total_scale(2m), mass_concentration_of_chlorophyll_in_sea_water(2m), mass_concentration_of_oxygen_in_sea_water(2m), sea_water_turbidity(2m)
CeNCOOS | Moss Landing Marine Lab | MLSC1 | Moss Landing | Moss Landing Seawater Intake | 36.8 | -121.79 | fixed | 2010 | Y | SJSU (MLML) | Yp | SJSU (MLML) | Academic | SJSU(MLML) | MLML | sea_water_temperature(17m), sea_water_practical_salinity(17m), sea_water_ph_measured_on_total_scale(17m), mass_concentration_of_oxygen_in_sea_water(17m), mass_concentration_of_chlorophyll_in_sea_water(17m), mole_concentration_of_nitrate_in_sea_water(17m)
CeNCOOS | Hog Island |  | Hog Island | Burkolator at Hog Island Oyster Company | 38.16 | -122.89 | fixed | 2014 | Y | UC Davis/Hog Island Oyster Company | Yp | UC Davis | Industry | UC Davis | UC Davis | sea_water_temperature(2.9m), sea_water_practical_salinity(2.9m),partial_pressure_of_carbon_dioxide_in_sea_water(2.9m), surface_partial_pressure_of_carbon_dioxide_in_air(2.9m), sea_water_ph_on_total_scale(2.9m), sea_water_alkalinity_expressed_as_mole_equivalent(2.9m), mole_concentration_of_aragonite_expressed_as_carbon_in_sea_water(2.9m)
CeNCOOS | Bodega | BDXC1 | Bodega | HorseshowCove BML Seawater Intake station; HABs Station | 38.32 | -123.07 | fixed | 1905 | Y | UC Davis/CeNCOOS | Yp | UC Davis (BML) | Academic | UC Davis (BML) | BML | sea_water_temperature(2.9m), sea_water_practical_salinity(2.9m), mass_concentration_of chlorophyll_in_sea_water(2.9m), sea_water_pressure(2.9m)
CeNCOOS | Fort Point | FPXC1 | Fort Point | Fort Point | 37.81 | -122.47 | fixed | 2009 | Y | UC Davis/CeNCOOS | Yp | UC Davis (BML) | Academic | UC Davis (BML) | BML | sea_water_temperature(3.5m), sea_water_practical_salinity(3.5m), mass_concentration_of chlorophyll_in_sea_water(3.5m), sea_water_pressure(3.5m)
CeNCOOS | Tomales Bay |  | Tomales Bay | Tomales Bay buoy | 38.19 | -122.93 | moored_buoy | 2013 | Y | UC Davis | N | UC Davis BML | Academic | UC Davis (BML) | UC Davis (BML) | sea_water_temperature(1.0m), sea_water_practical_salinity(1.0m), mass_concentration_of chlorophyll_in_sea_water(1.0m), mass_concentration_of_oxygen_in_sea_water(1.0m), sea_water_ph_measured_on_total_scale(1.0m), mass_concentration_of_chlorophyll_in_sea_water(1.0m), sea_water_turbidity(1.0m), sea_water_pressure(1.0m)
CeNCOOS | Santa Cruz Wharf |  | Santa Cruz Wharf | Santa Cruz Wharf; HABs station | 36.96 | -122.02 | fixed | 2011 | O | UCSC | Yp | UCSC | Academic | UCSC | CeNCOOS/UCSC | sea_water_temperature(1m), sea_water_practical_salinity(1m), mass_concentration_of_oxygen_in_sea_water(1m), sea_water_ph_measured_on_total_scale(1m), mass_concentration_of_chlorophyll_in_sea_water(1m), sea_water_turbidity(1m), sea_water_pressure(1m)

## Definitions
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Latitude (dec deg) | Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
RA name | (Optional) Any unique digital or alphanumeric identifier assigned by the RA or affiliate (e.g. CDIP) to distinguish the station. (e.g. 204; GAK Seward, SUN2, NH-10, etc). Does NOT include the WMO ID or CMAN ID (see next column). Leave blank if none. | (Required) The World Meteorological Organization 5-digit station identifier (WMO ID) is assigned to ocean platforms (drifting buoys, moored buoys, ocean reference sites, and profiling floats). e.g. 48088. The National Weather Service 5-digit alphanumerical identifier (e.g. the National Data Buoy Center CMAN ID) is assigned to shore-based stations. (e.g. HBYC1). For special cases where an ID is not assigned, put N/A and briefly indicate why in the notes. | (Required) Station name. e.g. Red Bank - Garden Banks, Fripps Inlet, etc. | (Optional) Anything descriptive about the station. This is a freeform field. | (Required) | (Required) | (Required) A structure or vehicle designed to hold one or more sensors such that the intended oceanographic or atmospheric variable(s) can be monitored or measured in a manner designed for the ocean observing system or scientific hypotheses. Use terms listed in the IOOS Platform Vocabulary: http://mmisw.org/ont/ioos/platform (e.g. buoy, profiling buoy, moored buoy, wave buoy, fixed, offshore tower, profile) | (Required) The time when the station became operational. This can be determined by the first data record or an installation date. This indicates the first time the station was deployed - not the last or latest, but the first time - even if IOOS was not established yet. Accepted responses: Please provide a month and year (mm/yyyy). If the actual deployment date is not known then provide a year (yyyy), or "< 5 yr" (any date on/after 1/1/2013) or "> 5 yr" (any date on/before 12/31/2012) . If not available, please indicate why in the notes column. | (Required) Is the asset deployed and collecting data? Y = Yes (this includes seasonal buoys intended for redeployment). N = No (it was uninstalled/removed, or is offline with no intent to repair). O = Offline (temporary outage, with intent to repair or redeploy). U = Unknown (e.g. funding uncertainty for repair/redeployment, or operator's plans are unknown). If O or U, please indicate why in the notes column. | (Optional) A person, group, or organization’s full or partial support of the asset. (e.g. AOOS, USACE). Does not include support for data management activities. Multiple groups may be listed. | (Required) Does the RA currently fund the asset? This excludes support for data management activities. Yf = Fully funds. Yp = Partially funds. N = No funding. | (Required) IOOS Vocabulary definition: "Platform operator used as classifier or contact type; will often be the platform owner as well..." Akin to the Creator_name attribute in netCDF: "The person/organization that (primarily) collects the data." In general, the person/group/institution principally responsible for operating the station. Note that most of the time this is also the group that maintains the asset. | (Required) Use the IOOS Organization Societal Sector Vocabulary. (Academic, industry, tribal, nonprofit, gov_state, gov_federal, etc). Underscores required. http://mmisw.org/ont/ioos/sector | (Optional) The organization with the primary responsibility for providing the maintenance of the platorm/sensors today (e.g. University of Wisconsin-Milwaukee). In most cases this will be the same as the platform operator. This is the group that conducts maintenance activities - this does not include the group that funds the maintenance (that group should fall under Platform Funder/Sponsor). | (Optional) The organization that is responsible for the data management activities. This does not mean the organization that funds the data management. | (Required) A list of observed variables that are associated with each station, with the depth(s) of the each measured oceanographic variable in parentheses following the variable name. 'Depths' not required for meteorological variables. If the variable is ONLY measured at the surface and no other dpeth, you do not need to include any parentheses/depth - just state the variable name. Use CF names (http://cfconventions.org/Data/cf-standard-names/47/build/cf-standard-name-table.html), and if the variable is not available in CF then use the IOOS parameter vocabulary (http://mmisw.org/ont/ioos/parameter). Accepted responses: sea_water_temperature (1 m, 10 m, 40 m), or sea_water_temperature (sfc, 10 m, 40 m), or sea_water_temperature (sfc and 2 depths), or mass_concentration_of_chlorophyll_in_sea_water. The latter means chlorophyll is measured only at the surface. Please provide all variables for the asset in a single cell in the spreadsheet (do not separate by row). | (Optional) Any additional information that does not fit in the template that you think is relevant, or provides context.

## Assets NOT Operational
CeNCOOS | Humboldt | Humboldt Bay:South Bay | Humboldt Bay South Bay station | 40.43 | -124.13 | fixed | N | HSU/CENCOOS | Yp | HSU | Academic | HSU | HSU/CeNCOOS | sea_water_temperature(2.5m), sea_water_salinity(2.5m), mass_concentration_of_oxygen_in_sea_water(2.5m), sea_water_ph_measured_on_total_scale(2.5m), mass_concentration_of_chlorophyll_in_sea_water(2.5m), sea_water_turbidity(2.5m), sea_water_pressure(2.5m)

## ATN
RA | Station ID | WMO ID or NWS/CMAN ID | Station Long Name | Station Description | Deployment Latitude (dec deg) | Deployment Longitude (dec deg) | Platform Type | Station Deployment (mm/yyyy, yyyy, < 5 yr, > 5 yr) | Currently Operational? (Y, N, O, U) | Platform Funder/Sponsor | RA Funding Involvement (Yf, Yp, N) | Platform Operator/Owner | Operator Sector | Platform Maintainer | Data Manager | Variable Names + water column depth of measurement in meters [CF_name (# m, # m) or CF_name (mult) or CF_name (# depths)]. | Additional notes
CeNCOOS | 178229 |  |  | SMRU CTD-F | 37.1135 | -122.331 | Animal Borne Sensor | 2019-02-01 | N | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN | sea_water_temperature, sea_water_pressure, sea_water_practical_salinity | Northern elephant seal, Adult F, tag recovered, will be redeployed on another seal in 2021
CeNCOOS | 178230 |  |  | SMRU CTD-F | 37.3265 | -121.9193 | Animal Borne Sensor | 2019-02-02 | N | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN | sea_water_temperature, sea_water_pressure, sea_water_practical_salinity | Northern elephant seal, Adult F, tag lost at sea, also had faulty flourometer, SMRU sent out new tag
CeNCOOS | 178231 |  |  | SMRU CTD-F | 51.5996 | -135.5499 | Animal Borne Sensor | 2019-02-03 | N | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN | sea_water_temperature, sea_water_pressure, sea_water_practical_salinity | Northern elephant seal, Adult F, tag recovered, will be redeployed on another seal in 2021
CeNCOOS | 201384 |  |  | SMRU CTD-F |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN |  | To be deployed Jan/Feb 2021
CeNCOOS | 201385 |  |  | SMRU CTD-F |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN |  | To be deployed Jan/Feb 2021
CeNCOOS | 201386 |  |  | SMRU CTD-F |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN |  | To be deployed Jan/Feb 2021
CeNCOOS | 201387 |  |  | SMRU CTD-F |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN |  | To be deployed Jan/Feb 2021
CeNCOOS | 201388 |  |  | SMRU CTD-F |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN |  | To be deployed Jan/Feb 2021
CeNCOOS | 201389 |  |  | SMRU CTD-F |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | UCSC | Academic | UCSC | UCSC/ATN |  | replacement tag for ft26-960-18; To be deployed Jan/Feb 2021
CeNCOOS | 177344 | N/A |  | WC MiniPAT-348F | 37.1089 | -122.3456 | Animal Borne Sensor | 2018-11-01 | N | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | White shark, Adult F, 4.42 m FL
CeNCOOS | 177346 | N/A |  | WC MiniPAT-348F | 37.1073 | -122.3437 | Animal Borne Sensor | 2018-11-01 | N | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | White shark, Adult M, 4.42 m FL
CeNCOOS | 177320 | N/A |  | WC MiniPAT-348F | 37.0985 | -122.3384 | Animal Borne Sensor | 2018-11-01 | N | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | White shark, Adult F, 4.27 m FL
CeNCOOS | 177322 | N/A |  | WC MiniPAT-348F | 37.0917 | -122.3392 | Animal Borne Sensor | 2008-11-01 | N | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | White shark, Adult F, 4.88 m FL; tag never transmitted, no data
CeNCOOS | 177342 | N/A |  | WC MiniPAT-348F | 37.1161 | -122.3406 | Animal Borne Sensor | 2008-11-01 | N | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | White shark, Adult M, 4.42 m FL; tag recovered have both archived and transmitted data
CeNCOOS | 196874 | N/A |  | Lotek PSATFLEX | 37.1086 | -122.3446 | Animal Borne Sensor | 2019-11-01 | Y | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | White shark, Sub-Adult M, 3.66 m FL
CeNCOOS | 196875 | N/A |  | Lotek PSATFLEX | 37.1122 | -122.3475 | Animal Borne Sensor | 2019-11-01 | Y | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | White shark, Adult U, 4.27 m FL
CeNCOOS | 196876 | N/A |  | Lotek PSATFLEX | 37.1083 | -122.347 | Animal Borne Sensor | 2019-11-01 | N | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | White shark, Sub-Adult F, 3.66 m FL
CeNCOOS | 54050 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54051 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54052 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54053 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54054 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54055 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54056 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54057 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54058 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54059 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54060 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54061 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54062 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54063 | N/A |  | InnovaSea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | 54064 | N/A |  | Innovasea V16-4H |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | est_taglife: 1825 d, nominal ping interval: 120 sec, freq: 69 kHz
CeNCOOS | N/A | N/A |  | Lotek PSAT |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | Tag ID not yet assigned
CeNCOOS | N/A | N/A |  | Lotek PSAT |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | Tag ID not yet assigned
CeNCOOS | N/A | N/A |  | Lotek PSAT |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | Tag ID not yet assigned
CeNCOOS | N/A | N/A |  | Lotek PSAT |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | Tag ID not yet assigned
CeNCOOS | N/A | N/A |  | Lotek PSAT |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | Tag ID not yet assigned
CeNCOOS | N/A | N/A |  | Lotek PSAT |  |  | Animal Borne Sensor |  |  | CeNCOOS | Yp | Stanford | Academic | Stanford | Stanford/ATN |  | Tag ID not yet assigned

## Gliders
IOOS RA | Glider line | Start | Stop | Glider Operator | Glider Data Manager | Responses to IOOS RA Glider Use Questions
[6 empty] | 1) How many glider-days of data were collected annually in 2017 by glider operators in your RA? (Note: Glider-day = 1 glider in the water collecting data for 1 day). | 2) Of the glider-days reported, how many were completed outside of the EEZ? | 3) Of the glider-days reported, how many were supported by IOOS PO? Consider only operations and maintenance, not capital costs. | 4) What missions were completed? If possible also include how many glider days/mission. (It's ok if one glider was conducting multiple missions at once. You can count the glider days toward each mission for this purpose.) | Notes
CeNCOOS | Trinidad Line (this line exists) | start 41.05 N, -124 E, | stop 41.05 N, -130 E
CeNCOOS | Cape Arena approx: This line is proposed | start 38.5023 N, -123.3283 E, | stop 37.1857N, -126.2041 E
CeNCOOS | Line 66.7 | start 36.89 N, -122.01 E, | stop 35.125N, -125.6 E

## HFR
ID | Longitude | Latitude | Description | Supporting Member
1 | -124.1582 | 41.0734 | Trinidad Head | UC Davis
2 | -124.2188 | 40.7688 | Samoa | UC Davis | Not active, will replace Trinidad Head
3 | -124.0789 | 40.0334 | Shelter Cove | UC Davis
4 | -123.8149 | 39.4398 | Fort Bragg | UC Davis
5 | -123.7356 | 38.94 | Point Arena Field Station | UC Davis
6 | -123.3315 | 38.5672 | Gerstle Cove | UC Davis
7 | -123.0001 | 38.3195 | Bodega Marine Lab | UC Davis
8 | -123.0725 | 38.3173 | Bodega Marine Lab | UC Davis
9 | -122.9891 | 38.0472 | Point Reyes | UC Davis
10 | -122.7282 | 37.9118 | Drakes Bay | Codar | Commonweal Center
11 | -122.5976 | 37.8725 | Slide Ranch | Codar
12 | -122.5298 | 37.8155 | Point Bonita Fog Station | Codar
12 | -122.4771 | 37.8438 | Sausalito Marin Sanitary District | Codar
14 | -122.4461 | 37.8899 | Romberg Tiburon Center 1 | Codar
15 | -122.4192 | 37.8533 | Angel Island, Point Blunt | Codar
16 | -122.3971 | 37.8029 | San Francisco Exploratorium | Codar
17 | -122.466 | 37.8064 | Crissy Field | Codar
18 | 122.5013 | 37.7123 | Fort Funston | Codar
19 | -122.5192 | 37.5337 | Montera Water and Sanitation | Codar
20 | -122.4995 | 37.4972 | Pillar Point | Codar
21 | -122.2742 | 37.0894 | Big Creek Lumber | Codar
22 | -122.0661 | 36.9492 | Santa Cruz | Codar/NPS
23 | -121.7879 | 36.8037 | Moss Landing | Codar/NPS
24 | -121.872 | 36.6032 | Naval Postgraduate School | Codar/NPS
25 | -121.9356 | 36.6368 | Point Pinos | Codar/NPS
26 | -121.9222 | 36.4395 | Granite Canyon | Codar/NPS
27 | -121.8883 | 36.3039 | Point Sur Long Range | Codar/NPS
Note on B11: Alex Harper: Update with Drakes Bay coordinates